## Results
| pH – Value at 25°C | Electrical Conductivity in mS/m at 25°C | Total Dissolved Solids at 180°C * | Turbidity | P- Alkalinity as CaCO3 | T- Alkalinity as CaCO3 | T- Hardness as CaCO3 | Chloride as Cl * | Sulphate as SO4 | Fluoride as F | Nitrate as N * | Nitrite as N | Silica as SiO2 | Sodium as Na | Potassium as K | Calcium as Ca | Magnesium as Mg | Iron as Fe | Manganese as Mn | Langelier Index | Ryznar Index | Corrosivity ratio | Stability pH
Group A | 6.0-9.0 | 150 |  | 1 |  |  | 300 | 250 | 200 | 1.5 | 10 |  |  | 100 | 200 | 150 | 70 | 0.1 | 0.05
Group B | 5.5-9.5 | 300 |  | 5 |  |  | 650 | 600 | 600 | 2 | 20 |  |  | 400 | 400 | 200 | 100 | 1 | 1
Group C | 4.0-11.0 | 400 |  | 10 |  |  | 1300 | 1200 | 1200 | 3 | 40 |  |  | 800 | 800 | 400 | 200 | 2 | 2
Group D | 4.0-11.0 |  | 6000 |  |  |  |  | 3000 | 1500 | 6 | 100 |  |  | 2000 |  | 1000 | 500 | 10 | 10
40963 | 7.4 | 84.9 | 581 | 3 | 0 | 270 | 377 | 42 | 21 | 0.7 | 32 | <0.1 | 69 | 36 | 6.1 | 80 | 43 | 0.09 | <0.01 | 0.2 | 6.9 | 0.3 | 7.1
39857 | 7.6 | 100.1 | 651 | 532 | 0 | 311 | 202 | 67 | 91 | 0.9 | 13 | <0.1 | 63 | 152 | 4.2 | 48 | 20 | 37 | 0.04 | 0.3 | 7 | 0.6 | 7.3
39840 | 8.7 | 82.6 | 516 | 7.2 | 20 | 295 | 131 | 68 | 28 | 0.5 | 7.2 | 1.1 | 12 | 137 | 9.1 | 18 | 21 | 0.01 | 0.01 | 0.9 | 6.8 | 0.4 | 7.7
39873 | 7.4 | 144.2 | 850 | 57 | 0 | 414 | 350 | 185 | 89 | 0.3 | 4.3 | <0.1 | 38 | 189 | 6.4 | 56 | 51 | 5.3 | 0.07 | 0.3 | 6.9 | 0.9 | 7.1
40960 | 9.3 | 76.1 | 454 | 62 | 49 | 316 | 35 | 46 | 37 | 0.6 | 1.1 | 0.4 | <4 | 150 | 12 | 2.2 | 7.2 | 4 | 0.02 | 0.7 | 8 | 0.3 | 8.6
22837 | 7.1 | 85.6 | 503 | 163 | 0 | 397 | 396 | 39 | 23 | 0.6 | 6.8 | <0.1 | 61 | 43 | 3.7 | 81 | 47 | 8.1 | 0.05 | 0.1 | 6.8 | 0.2 | 7
37225 | 8.7 | 188.1 | 1219 | 7.5 | 35 | 587 | 12 | 131 | 241 | 3.9 | <0.5 | <0.1 | 14 | 449 | 1.9 | 3.2 | 1 | 0.6 | 0.01 | 0.4 | 7.8 | 0.7 | 8.2

## pH
pH – Value at 25°C
Group A | 6.0-9.0
Group B | 5.5-9.5
Group C | 4.0-11.0
Group D | 4.0-11.0
Site | 2014-10-03 | 2015-06-24 | Baseline | Lower Limit | Upper Limit
40963 | 8 |  | 7.4 | 5.5 | 9.5
39857 | 8.1 | 7.9 | 7.6 | 5.5 | 9.5
39840 | 8.7 |  | 8.7 | 5.5 | 9.5
Olifantswest H/S 1 |  | 7.5 | 8.7 | 5.5 | 9.5
Olifantswest H/S 2 |  | 7.8 | 8.7 | 5.5 | 9.5
39873 | 8.3 | 7.7 | 7.4 | 5.5 | 9.5
40960 |  |  | 9.3 | 5.5 | 9.5
40961 | 8.5 | 8.6 | 9.3 | 5.5 | 9.5
22837 |  |  | 7.1 | 5.5 | 9.5
37225 | 8.9 | 8.1 | 8.7 | 5.5 | 9.5
2302 | 9 | 9.2 |  | 5.5 | 9.5
5943 | 8.5 | 7.6 |  | 5.5 | 9.5
874 | 8.6 |  |  | 5.5 | 9.5
1100 | 8.8 | 8 |  | 5.5 | 9.5
297 |  | 7.8 |  | 5.5 | 9.5
Kalahari research office |  | 7.5 |  | 5.5 | 9.5

## EC
Electrical Conductivity in mS/m at 25°C
Group A | 150
Group B | 300
Group C | 400
Group D | 400
Site | 2014-10-03 | 2015-06-24 | Baseline | Class B Limit
40963 | 65.6 |  | 84.9 | 300
39857 | 100.3 | 125.6 | 100.1 | 300
39840 | 90 |  | 82.6 | 300
Olifantswest H/S 1 |  | 83.9 | 82.6 | 300
Olifantswest H/S 2 |  | 73.3 | 82.6 | 300
39873 | 129.5 | 119 | 144.2 | 300
40960 |  |  | 76.1 | 300
40961 | 75.5 | 77.3 | 76.1 | 300
22837 |  |  | 85.6 | 300
37225 | 199.7 | 202.2 | 188.1 | 300
2302 | 262 | 262.9 |  | 300
5943 | 68.9 | 105.5 |  | 300
874 | 86.6 |  |  | 300
1100 | 100.9 | 101.5 |  | 300
297 |  | 87.1 |  | 300
Kalahari research office |  | 137.6 |  | 300

## TDS
Total Dissolved Solids at 180°C *
Group A
Group B
Group C
Group D
Sample ID | 2014-10-01 | 2015-02-01 | Baseline | Limit
40963 | 274 |  | 581
39857 | 661 | 758 | 651
39840 | 531 |  | 516
Olifantswest H/S 1 |  | 543 | 516
Olifantswest H/S 2 |  | 532 | 516
39873 | 728 | 734 | 850
40960 |  |  | 454
40961 | 405 | 458 | 454
22837 |  |  | 503
37225 | 1225 | 1306 | 1219
2302 | 1430 | 1697
5943 | 363 | 714
874 | 559
1100 | 638 | 649
297 |  | 554
Kalahari research office |  | 888

## TSS
Suspended Solids at 105°C *
Group A
Group B
Group C
Group D | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Limit
Borehole 6 | 1 | 1
Farmhouse 1 | <1
Farmhouse 2 | 1 | <1 | 1
Borehole 5 | <1 | 13
Borehole 7 | 1 | 5
Wellfield | <1 | <1
Uris Lodge | <1 | 2 | 2
Uris Farm | <1 | 4 | 1
Tschudi West | <1 |  | <1
Borehole 1 | <1 | 1
NH011 ( | 2

## CaCo3
Total Alkalinity as CaCO3
Group A
Group B
Group C
| 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Limit
Borehole 6 | 457 | 424
Farmhouse 1 | 479
Farmhouse 2 | 470 | 458 | 470
Borehole 5 | 499 | 490
Borehole 7 | 409 | 409
Wellfield | 496 | 390
Uris Lodge | 502 | 498 | 503
Uris Farm | 501 | 499 | 534
Tschudi West | 514 | 508 | 512
Borehole 1 | 464 | 459
NH011 ( | 448

## Cl
Chloride as Cl *
Group A | 250
Group B | 600
Group C | 1200
Group D | 1200
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 8.9 | 12 |  | 30 | 250 | 600
Farmhouse 1 | 14 |  |  | 5 | 250 | 600
Farmhouse 2 | 51 | 53 | 42 | 42 | 250 | 600
Borehole 5 | 55 | 53 |  | 52 | 250 | 600
Borehole 7 | 13 | 13 |  | 22 | 250 | 600
Uris Lodge Kraal | 5.3 | 5 | 7 | 6 | 250 | 600
Uris Farm Klippos | 8.4 | 3.6 | 8 | <5 | 250 | 600
Tschudi West | 24 | 15 | 14 | 65 | 250 | 600
Borehole 1 | 5 | 9 |  | 19 | 250 | 600
NH011 ( | 7.5 | 8.7 |  |  | 250 | 600

## SO4
Sulfate as SO4
Group A | 200
Group B | 600
Group C | 1200
Group D | 1200
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 8 | 9 |  | 12 | 200 | 600
Farmhouse 1 | 21 |  |  | 24 | 200 | 600
Farmhouse 2 | 11 | 12 | 9 | 15 | 200 | 600
Borehole 5 | 208 | 464 |  | 588 | 200 | 600
Borehole 7 | 1314 | 1474 |  | 1384 | 200 | 600
Uris Lodge Kraal | 17 | 17 | 14 | 18 | 200 | 600
Uris Farm Klippos | 13 | 11 | 12 | 12 | 200 | 600
Tschudi West | 28 | 25 | 18 | 52 | 200 | 600
Borehole 1 | 28 | 30 |  | 40 | 200 | 600
NH011 ( | 68 | 22 |  |  | 200 | 600

## F
Fluoride as F
Group A | 1.5
Group B | 2
Group C | 3
Group D | 3
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 0.5 | 0.4 |  | 0.5 | 1.5 | 2
Farmhouse 1 | 0.5 |  |  | 0.5 | 1.5 | 2
Farmhouse 2 | 0.4 | 0.4 | 0.4 | 0.5 | 1.5 | 2
Borehole 5 | 0.6 | 0.6 |  | 0.5 | 1.5 | 2
Borehole 7 | 0.4 | 0.4 |  | 0.2 | 1.5 | 2
Uris Lodge Kraal | 0.4 | 0.3 | 0.3 | 0.4 | 1.5 | 2
Uris Farm Klippos | 0.4 | 0.4 | 0.4 | 0.5 | 1.5 | 2
Tschudi West | 0.7 | 0.6 | 0.6 | 0.6 | 1.5 | 2
Borehole 1 | 0.4 | 0.4 |  | 0.6 | 1.5 | 2
NH011 ( | 0.5 | 0.4 |  |  | 1.5 | 2

## Nitrate
Nitrate as N *
Group A | 10
Group B | 20
Group C | 40
Group D | 40
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B | Class C
Borehole 6 | 14 | 18 |  | 33 | 10 | 20 | 40
Farmhouse 1 | 1.8 |  |  | 2.1 | 10 | 20 | 40
Farmhouse 2 | 19 | 27 | 22 | 16 | 10 | 20 | 40
Borehole 5 | 22 | 24 |  | 17 | 10 | 20 | 40
Borehole 7 | 0.8 | 1.9 |  | 0.3 | 10 | 20 | 40
Uris Lodge Kraal | 2.5 | 2.5 | 2.4 | 2.8 | 10 | 20 | 40
Uris Farm Klippos | 1.3 | 1.6 | <0.1 | 1.8 | 10 | 20 | 40
Tschudi West | 18 | 12 | 8.9 | 34 | 10 | 20 | 40
Borehole 1 | 2.5 | 2.2 |  | 3.6 | 10 | 20 | 40

## Phosphate
Ortho Phosphate as P *
Group A
Group B
Group C
Group D | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Limit
Borehole 6 | 0.73 | 0.42
Farmhouse 1 | 0.41
Farmhouse 2 | 0.71 | 1.08 | 1.3
Borehole 5 | 0.99 | 0.9
Borehole 7 | 1.12 | 1.49
Wellfield | 0.55
Uris Lodge | 0.47 | 0.29 | 1
Uris Farm | 0.39 | 0.2 | 0.38
Tschudi West | 0.41 | 0.56 | 1.2
Borehole 1 | 0.57 | 0.34
NH011 ( | 0.51 | 0.3

## Ammonia
Free & Saline Ammonia as N *
Group A | 1
Group B | 2
Group C | 4
Group D | 4
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Class A | Class B
Borehole 6 | <0.02 | <0.02 |  | 1 | 2
Farmhouse 1 | <0.02 |  |  | 1 | 2
Farmhouse 2 | <0.02 | <0.02 | <0.01 | 1 | 2
Borehole 5 | <0.02 | <0.02 |  | 1 | 2
Borehole 7 | <0.02 | <0.02 |  | 1 | 2
Wellfield | <0.02 | <0.02 |  | 1 | 2
Uris Lodge | <0.02 | <0.02 | <0.01 | 1 | 2
Uris Farm | <0.02 | <0.02 | <0.01 | 1 | 2
Tschudi West | <0.02 | <0.02 | <0.01 | 1 | 2
Borehole 1 | <0.02 | <0.02 |  | 1 | 2
NH011 ( | <0.02 | <0.02 |  | 1 | 2

## Sodium
Sodium as Na
Group A | 100
Group B | 400
Group C | 800
Group D | 800
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 31 | 30 |  | 42 | 100 | 400
Farmhouse 1 | 10 |  |  | 6 | 100 | 400
Farmhouse 2 | 20 | 23 | 23 | 20 | 100 | 400
Borehole 5 | 91 | 90 |  | 101 | 100 | 400
Borehole 7 | 118 | 123 |  | 140 | 100 | 400
Uris Lodge Kraal | 8 | 8 | 7.9 | 8 | 100 | 400
Uris Farm Klippos | 6.4 | 6.5 | 6.2 | 10 | 100 | 400
Tschudi West | 16 | 11 | 10 | 28 | 100 | 400
Borehole 1 | 12 | 11 |  | 18 | 100 | 400
NH011 ( | 14 | 5.4 |  |  | 100 | 400

## Potassium K
Potassium as K
Group A | 200
Group B | 400
Group C | 800
Group D | 800
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 2.2 | 1.6 |  | 2.2 | 200 | 400
Farmhouse 1 | 1.2 |  |  | 1 | 200 | 400
Farmhouse 2 | 1.2 | 0.3 | 1.2 | 1.1 | 200 | 400
Borehole 5 | 1.9 | 1.9 |  | 2.1 | 200 | 400
Borehole 7 | 6.2 | 3.5 |  | 3.9 | 200 | 400
Uris Lodge Kraal | 1.3 | 1.3 | 1.3 | 1.3 | 200 | 400
Uris Farm Klippos | 1.1 | 0.1 | 1.1 | 1 | 200 | 400
Tschudi West | 3.1 | 1.8 | 1.8 | 6.1 | 200 | 400
Borehole 1 | 1.2 | 1.1 |  | 1.2 | 200 | 400
NH011 ( | 2.1 | 0.9

## Ca
Calcium as Ca
Group A | 375
Group B | 500
Group C | 1000
Group D | 1000
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 97 | 97 |  | 120 | 375 | 500
Farmhouse 1 | 119 |  |  | 117 | 375 | 500
Farmhouse 2 | 122 | 126 | 130 | 123 | 375 | 500
Borehole 5 | 118 | 180 |  | 205 | 375 | 500
Borehole 7 | 469 | 496 |  | 442 | 375 | 500
Uris Lodge Kraal | 117 | 112 | 119 | 115 | 375 | 500
Uris Farm Klippos | 115 | 113 | 116 | 126 | 375 | 500
Tschudi West | 141 | 126 | 131 | 174 | 375 | 500
Borehole 1 | 118 | 113 |  | 125 | 375 | 500
NH011 ( | 120 | 102 |  |  | 375 | 500

## Mg
Magnesium as Mg
Group A | 70
Group B | 100
Group C | 200
Group D | 200
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 54 | 53 |  | 65 | 70 | 100
Farmhouse 1 | 54 |  |  | 57 | 70 | 100
Farmhouse 2 | 69 | 66 | 67 | 67 | 70 | 100
Borehole 5 | 110 | 105 |  | 117 | 70 | 100
Borehole 7 | 124 | 123 |  | 109 | 70 | 100
Uris Lodge Kraal | 60 | 55 | 56 | 59 | 70 | 100
Uris Farm Klippos | 59 | 55 | 55 | 53 | 70 | 100
Tschudi West | 68 | 60 | 59 | 82 | 70 | 100
Borehole 1 | 51 | 47 |  | 53 | 70 | 100
NH011 ( | 59 | 46 |  |  | 70 | 100

## Al
Aluminium as Al
Group A | 0.15
Group B | 0.5
Group C | 1
Group D | 1
| 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 0.04 | 0.02 |  | 0.21 | 0.15 | 0.5
Farmhouse 1 | 0.01 |  |  | <0.10 | 0.15 | 0.5
Farmhouse 2 | 0.01 | 0.02 | 0.09 | <0.10 | 0.15 | 0.5
Borehole 5 | 0.02 | 0.08 |  | 0.52 | 0.15 | 0.5
Borehole 7 |  | 0.1 |  | <0.10 | 0.15 | 0.5
Uris Lodge Kraal | 0.01 | 0.02 | 0.08 | <0.10 | 0.15 | 0.5
Uris Farm Klippos | <0.01 | <0.01 | 0.07 | <0.10 | 0.15 | 0.5
Tschudi West | 0.07 | 0.01 | 0.08 | <0.10 | 0.15 | 0.5
Borehole 1 | 0.01 | <0.01 |  | 0.17 | 0.15 | 0.5
NH011 ( | 0.01 | <0.01 |  |  | 0.15 | 0.5

## As
Arsenic as As *
Group A | 0.1
Group B | 0.3
Group C | 0.6
Group D | 0.6
Site | 2014-09-01 | 2015-02-01 | Class A | Class B
Borehole 6 | <0.01 | <0.01 | 0.1 | 0.3
Farmhouse 1 | <0.01 | <0.01 | 0.1 | 0.3
Farmhouse 2 | <0.01 | <0.01 | 0.1 | 0.3
Borehole 5 | <0.01 | <0.01 | 0.1 | 0.3
Borehole 7 | <0.01 | <0.01 | 0.1 | 0.3
Wellfield | <0.01 | <0.01 | 0.1 | 0.3
Uris Lodge | <0.01 | <0.01 | 0.1 | 0.3
Uris Farm | <0.01 | <0.01 | 0.1 | 0.3
Tschudi West | <0.01 | <0.01 | 0.1 | 0.3
Borehole 1 | <0.01 | <0.01 | 0.1 | 0.3
NH011 ( | <0.01 | <0.01 | 0.1 | 0.3

## Cd
Cadmium as Cd
Group A | 0.01
Group B | 0.02
Group C | 0.04
Group D | 0.04
Site | Result |  | Class A | Class B
Borehole 6 | <0.01 | <0.01 | 0.01 | 0.02
Farmhouse 1 | <0.01 | <0.01 | 0.01 | 0.02
Farmhouse 2 | <0.01 | <0.01 | 0.01 | 0.02
Borehole 5 | <0.01 | <0.01 | 0.01 | 0.02
Borehole 7 | <0.01 | <0.01 | 0.01 | 0.02
Wellfield | <0.01 | <0.01 | 0.01 | 0.02
Uris Lodge | <0.01 | <0.01 | 0.01 | 0.02
Uris Farm | <0.01 | <0.01 | 0.01 | 0.02
Tschudi West | <0.01 | <0.01 | 0.01 | 0.02
Borehole 1 | <0.01 | <0.01 | 0.01 | 0.02
NH011 ( | <0.01 | <0.01 | 0.01 | 0.02

## Cr
Total Chromium as Cr
Group A | 0.1
Group B | 0.2
Group C | 0.4
Group D | 0.4
Site | 2014-09-01 | 2015-02-01 | Class A | Class B
Borehole 6 | <0.01 | <0.01 | 0.1 | 0.2
Farmhouse 1 | <0.01 | <0.01 | 0.1 | 0.2
Farmhouse 2 | <0.01 | <0.01 | 0.1 | 0.2
Borehole 5 | <0.01 | <0.01 | 0.1 | 0.2
Borehole 7 | 0.02 | <0.01 | 0.1 | 0.2
Wellfield | <0.01 | <0.01 | 0.1 | 0.2
Uris Lodge | <0.01 | <0.01 | 0.1 | 0.2
Uris Farm | <0.01 | <0.01 | 0.1 | 0.2
Tschudi West | <0.01 | <0.01 | 0.1 | 0.2
Borehole 1 | <0.01 | <0.01 | 0.1 | 0.2
NH011 ( | <0.01 | <0.01 | 0.1 | 0.2

## Cu
Copper as Cu
Group A | 0.5
Group B | 1
Group C | 2
Group D | 2
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | <0.01 | 0.01 |  | 0.025 | 0.5 | 1
Farmhouse 1 | 0.01 |  |  | 0.025 | 0.5 | 1
Farmhouse 2 | <0.01 | <0.01 | 0.0.2 | 0.025 | 0.5 | 1
Borehole 5 | <0.01 | 0.01 |  | 0.025 | 0.5 | 1
Borehole 7 | <0.01 | 0.01 |  | 0.025 | 0.5 | 1
Uris Lodge Kraal | <0.01 | 0.01 | 0.01 | 0.025 | 0.5 | 1
Uris Farm Klippos | <0.01 | 0.02 | 0.02 | 0.025 | 0.5 | 1
Tschudi West | <0.01 | <0.01 | 0.01 | 0.025 | 0.5 | 1
Borehole 1 | 0.01 | <0.01 |  | 0.025 | 0.5 | 1
NH011 ( | 0.22 | 0.01 |  |  | 0.5 | 1

## Fe
Iron as Fe
Group A | 0.1
Group B | 1
Group C | 2
Group D | 2
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Class A | Class B
Borehole 6 | 0.07 | 0.04 |  | 0.97 | 0.1 | 1
Farmhouse 1 | 0.01 |  |  |  | 0.1 | 1
Farmhouse 2 | 0.01 | 0.02 | 0.05 | 0.089 | 0.1 | 1
Borehole 5 | 0.01 | 0.27 |  | 10 | 0.1 | 1
Borehole 7 | 0.02 | 1.2 |  | 8 | 0.1 | 1
Uris Lodge Kraal | 0.01 | 0.05 | 0.01 |  | 0.1 | 1
Uris Farm Klippos | 0.01 | 0.01 | 0.06 |  | 0.1 | 1
Tschudi West | 0.12 | 0.02 | 0.05 |  | 0.1 | 1
Borehole 1 | 0.01 | 0.01 |  | 0.22 | 0.1 | 1
NH011 ( | 0.03 | 0.02 |  |  | 0.1 | 1

## Pb
Lead as Pb
Group A | 0.05
Group B | 0.1
Group C | 0.2
Group D | 0.2
Site | 2014-09-01 | 2015-02-01 | Class A | Class B
Borehole 6 | <0.01 | <0.01 | 0.05 | 0.1
Farmhouse 1 | <0.01 | <0.01 | 0.05 | 0.1
Farmhouse 2 | <0.01 | <0.01 | 0.05 | 0.1
Borehole 5 | <0.01 | <0.01 | 0.05 | 0.1
Borehole 7 | <0.01 | <0.01 | 0.05 | 0.1
Wellfield | <0.01 | <0.01 | 0.05 | 0.1
Uris Lodge | <0.01 | <0.01 | 0.05 | 0.1
Uris Farm | <0.01 | <0.01 | 0.05 | 0.1
Tschudi West | <0.01 | <0.01 | 0.05 | 0.1
Borehole 1 | <0.01 | <0.01 | 0.05 | 0.1
NH011 ( | <0.01 | <0.01 | 0.05 | 0.1

## Mn
Manganese as Mn
Group A | 0.05
Group B | 1
Group C | 2
Group D | 2
|  | Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Limit Class A | Limit Class B
|  | Borehole 6 | <0.01 | <0.01 |  |  | 0.05 | 1
|  | Farmhouse 1 | <0.01 |  |  |  | 0.05 | 1
|  | Farmhouse 2 | <0.01 | <0.01 | <0.01 |  | 0.05 | 1
|  | Borehole 5 | <0.01 | 0.01 |  | 0.16 | 0.05 | 1
|  | Borehole 7 | 0.07 | 0.04 |  | 0.36 | 0.05 | 1
|  | Uris Lodge Kraal | <0.01 | <0.01 | <0.01 |  | 0.05 | 1
|  | Uris Farm Klippos | <0.01 | <0.01 | 0.01 |  | 0.05 | 1
|  | Tschudi West | 0.01 | <0.01 | 0.0.1 | 0.127 | 0.05 | 1
|  | Borehole 1 | <0.01 | <0.01 |  | 0.028 | 0.05 | 1
|  | NH011 ( | 0.01 | <0.01 |  |  | 0.05 | 1

## Hg
Mercury as Hg *
Group A | 0.005
Group B | 0.01
Group C | 0.02
Group D | 0.02
Site | 2014-09-01 | 2015-02-01 | Limit Class A | Limit Class B
Borehole 6 | <0.01 | <0.01 | 0.005 | 0.01
Farmhouse 1 | <0.01 | <0.01 | 0.005 | 0.01
Farmhouse 2 | <0.01 | <0.01 | 0.005 | 0.01
Borehole 5 | <0.01 | <0.01 | 0.005 | 0.01
Borehole 7 | <0.01 | <0.01 | 0.005 | 0.01
Wellfield | <0.01 | <0.01 | 0.005 | 0.01
Uris Lodge | <0.01 | <0.01 | 0.005 | 0.01
Uris Farm | <0.01 | <0.01 | 0.005 | 0.01
Tschudi West | <0.01 | <0.01 | 0.005 | 0.01
Borehole 1 | <0.01 | <0.01 | 0.005 | 0.01
NH011 ( | <0.01 | <0.01 | 0.005 | 0.01

## Ni
Nickel as Ni
Group A | 0.25
Group B | 0.5
Group C | 1
Group D | 1
Site | 2014-09-01 | 2015-02-01 | Limit Class A | Limit Class B
Borehole 6 | <0.01 |  | 0.24 | 0.5
Farmhouse 1 | <0.01 |  | 0.24 | 0.5
Farmhouse 2 | <0.01 |  | 0.24 | 0.5
Borehole 5 | <0.01 |  | 0.24 | 0.5
Borehole 7 | <0.01 |  | 0.24 | 0.5
Wellfield | <0.01 |  | 0.24 | 0.5
Uris Lodge | <0.01 |  | 0.24 | 0.5
Uris Farm | <0.01 |  | 0.24 | 0.5
Tschudi West | <0.01 |  | 0.24 | 0.5
Borehole 1 | <0.01 |  | 0.24 | 0.5
NH011 ( | <0.01 |  | 0.24 | 0.5

## U
Uranium as U
Group A | 0.03
Group B | 0.03
Group C | 0.03
Group D | 0.03
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Limit Class A
Borehole 6 | <0.01 | 0.01 |  |  | 0.03
Farmhouse 1 | <0.01 |  |  |  | 0.03
Farmhouse 2 | 0.01 | 0.01 | 0.01 |  | 0.03
Borehole 5 | 0.04 | 0.04 |  | 0.39 | 0.03
Borehole 7 | 0.01 | 0.01 |  | 0.013 | 0.03
Uris Lodge Kraal | <0.01 | <0.01 | <0.01 |  | 0.03
Uris Farm Klippos | <0.01 | <0.01 | <0.01 |  | 0.03
Tschudi West | <0.01 | <0.01 | <0.01 |  | 0.03
Borehole 1 | <0.01 | <0.01 |  |  | 0.03
NH011 ( | 0.01 | <0.01 |  |  | 0.03

## Zn
Zinc as Zn
Group A | 1
Group B | 5
Group C | 10
Group D | 10
Site | 2014-09-01 | 2015-02-01 | 2015-06-01 | Baseline | Limit Class B | Limit Class A
Borehole 6 | <0.01 | 0.01 |  |  | 5 | 1
Farmhouse 1 | 0.08 |  |  | 0.026 | 5 | 1
Farmhouse 2 | 0.05 | 0.04 | 0.07 | 0.26 | 5 | 1
Borehole 5 | <0.01 | 0.01 |  | 0.072 | 5 | 1
Borehole 7 | 0.01 | 0.02 |  |  | 5 | 1
Uris Lodge Kraal | 0.02 | 0.2 | 0.03 |  | 5 | 1
Uris Farm Klippos | 0.02 | 0.03 | 0.03 | 0.182 | 5 | 1
Tschudi West | 0.66 | 0.4 | 0.52 | 5.51 | 5 | 1
Borehole 1 | 0.1 | 0.09 |  | 0.1 | 5 | 1
NH011 ( | 0.13 | 0.02 |  |  | 5 | 1