## Runoff
|  |  | Co-ordinates |  | Monthly runoff (Mm3) | Monthly rainfall (mm) | Calibration gauge | Catchment area (km2) |  | Climate |  | Incremental Natural Runoff
# | Tertiary | Runoff Name | Lat | Long | Filename | Filename | Gauge # | Gross | Net | MAP | MAE | GIZ (1920-2004)
[12 empty] | Mm3/a | mm/a | %MAP | % difference in MAR | Related quaternary catchments
1 | Vu | Frankfort (Wilge River) | -28.093 | 29.6057 | fran9.inc | fran9.ran | C8H001 | 15498 | 15498 | 712 | 1407 | 760 | 49 | 6.9% | 4% | C81A-C,E-M,C82A-H,C83A-J
2 | Vu | Delangesdrift (Sandspruit) | -27.2507 | 30.02 | dela9.inc | dela9.ran | C1H002 | 4158 | 4158 | 679 | 1407 | 261.1 | 63 | 9.2% | 5% | C13A-F
3 | Vu | Grootdraai Dam | -26.3568 | 30.0818 | grootd9.inc | grootd9.ran | C1H001/C1R001 | 7995 | 7995 | 690 | 1444 | 462 | 58 | 8.4% | 1% | C11A-L
4 | Vu | Sterkfontein | -28.54 | 28.9885 | sterk9.inc | sterk9.ran | C8R003 | 195 | 195 | 735 | 1310 | 19.5 | 100 | 13.6% | 8% | C81D
5 | Vu | Vaal Dam | -27.1922 | 28.478 | vaal9.inc | vaal9.ran | C2H003/C1R001 | 10792 | 10792 | 657 | 1540 | 570.6 | 53 | 8% | 10% | C11M,C12A-L,C13G-H,C83K-M
6 | Vb | Vaal Barrage | -26.7831 | 28.074 | barr9.inc | barr9.ran | C2R008 | 2828 | 2828 | 637 | 1650 | 72.2 | 26 | 4% | 5% | C22F-K
7 | Vb | Klip River | -26.2193 | 27.9898 | klipr9.inc | klipr9.ran | C2H071/K19 | 2282 | 2282 | 670 | 1650 | 102.7 | 45 | 6.7% | 7% | C22A-E
8 | Vb | Suikerbosrant River | -26.4634 | 28.8263 | suik9.inc | suik9.ran | C2H004/S2 | 3541 | 3541 | 668 | 1650 | 99.9 | 28 | 4.2% | 8% | C21A-G
9 | Vm | Taaibos&Monamaledi tributaries to Schoonspruit | -26.0542 | 26.4993 | c24f.inc | c24f.ran | C2R002 | 2020 | 1180 | 577 | 1830 | 19.6 | 10 | 1.7% | 0% | C24F
10 | Vm | Flow from Schoonspruit Eye | -26.2588 | 26.6988 | c24c.inc | c24c.ran | C2H064, C2H109 | 1350 | 1585 | 582 | 1750 | 58.2 | 43 | 7.4% | -4% | C24C
11 | Vm | Klerkskraal Dam | -26.0353 | 27.2609 | klerk9.inc | klerk9.ran | C2R003 | 1324 | 1001 | 605 | 1700 | 39.7 | 30 | 5% | 5% | C23F
12 | Vm | Upper Schoonspruit | -26.2691 | 26.7056 | c24e.inc | c24e.ran | C2R002 | 925 | 664 | 560 | 1800 | 9.8 | 11 | 1.9% | 0% | C24E
13 | Vm | Rietspruit Dam | -26.3413 | 26.9755 | c24d.inc | c24d.ran | C2R002 | 364 | 364 | 584 | 1725 | 7.4 | 20 | 3.5% | 1% | C24D
14 | Vm | Boskop Dam | -26.166 | 27.756 | bosk9.inc | bosk9.ran | C2R001 | 1973 | 1756 | 629 | 1675 | 37.5 | 19 | 3% | 5% | C23D,E&G
15 | Vm | Johan Neser Dam incremental | -26.5957 | 26.3601 | c24g.inc | c24g.ran | C2R002 | 985 | 985 | 581 | 1820 | 16.9 | 17 | 3% | 0% | C24G
16 | Vm | Lakeside Dam | -26.5149 | 26.9996 | lakesn3.inc | lakesn3.ran | C2H085 | 451 | 451 | 604 | 1700 | 9.7 | 21 | 3.6% | 3% | C23H
17 | Vm | Klipdrif Dam | -26.5459 | 27.5101 | klipdn3 | klipdn3 | C2R005 | 890 | 890 | 620 | 1670 | 21.2 | 24 | 3.8% | 5% | C23J
18 | Vm | Lower Schoonspruit | -26.759 | 26.3446 | c24h.inc | c24h.ran | C2H061 | 840 | 840 | 576 | 1820 | 8.5 | 10 | 1.8% | -4% | C24H
19 | Vm | Kromdraai | -27.1888 | 27.9949 | kromn3.inc | kromn3.ran | C2H018 | 2028 | 2028 | 613 | 1625 | 42 | 21 | 3.4% | 3% | C23A,B&C
20 | Vm | Bloemhof Dam | -26.5717 | 27.2213 | bloemn3.inc | bloemn3.ran | C9R002 | 14007 | 12555 | 534 | 1800 | 138.9 | 10 | 1.9% | 7% | C23K&L;C24A,B&K;C25A-F
21 | Vm | Renoster River (C70K) | -27.2988 | 27.003 | c70k.inc | c70k.ran | C7H006 | 891 | 392 | 565 | 1690 | 10.3 | 12 | 2% | -6% | C70K
22 | Vm | Renoster River (C70J) | -27.108 | 27.2179 | c70j.inc | c70j.ran | C7H006 | 521 | 521 | 575 | 1670 | 8.6 | 16 | 2.9% | 0% | C70J
23 | Vm | Renoster River (C70E) | -27.0667 | 27.615 | c70e.inc | c70e.ran | C7H006 | 693 | 693 | 578 | 1630 | 12 | 17 | 3% | 0% | C70E
24 | Vm | Renoster River (C70H) | -27.3934 | 27.2282 | c70h.inc | c70h.ran | C7H006 | 251 | 251 | 568 | 1650 | 4 | 16 | 2.8% | 0% | C70H
25 | Vm | Renoster River (C70F) | -27.2833 | 27.4981 | c70f.inc | c70f.ran | C7H006 | 564 | 564 | 574 | 1620 | 9.5 | 17 | 2.9% | 0% | C70F
26 | Vm | Renoster River (C70G) | -27.5378 | 27.5136 | c70g.inc | c70g.ran | C7H003 | 901 | 901 | 577 | 1600 | 16.9 | 19 | 3.3% | 21% | C70G
27 | Vm | Renoster River (C70D) | -27.4552 | 27.6838 | c70d.inc | c70d.ran | C7H006 | 675 | 675 | 586 | 1600 | 12.6 | 19 | 3.2% | 0% | C70D
28 | Vm | Koppies Dam | -27.6856 | 28.0671 | kop9.inc | kop9.ran | C7R001 | 2160 | 2160 | 617 | 1550 | 61.1 | 28 | 4.6% | 3% | C70A,B&C
29 | Vm | Klipbank | -28.3337 | 28.1565 | klipbn3.inc | klipbn3.ran | C6H003 | 7871 | 6351 | 563 | 1575 | 153.3 | 19 | 3.5% | 2% | C60A-J
30 | Vm | Lower Sand-Vet | -28.7342 | 26.7675 | sandn3.inc | sandn3.ran | C4H004 | 10800 | 8962 | 504 | 1700 | 160.2 | 15 | 2.9% | 2% | C41F-J;C42F-L;C43A-D
31 | Vm | Allemanskraal Dam | -28.3767 | 28.0035 | allem9.inc | allem9.ran | C4R001 | 3628 | 3628 | 593 | 1465 | 94.9 | 26 | 4.4% | -1% | C42A-E
32 | Vm | Erfenis Dam | -28.6895 | 27.4758 | erf9.inc | erf9.ran | C4R002 | 4724 | 4724 | 579 | 1525 | 163.6 | 35 | 6% | -2% | C41A-E
33 | Vl | Barberspan | -26.2846 | 25.7051 | Barbers.inc | Barbers.ran | - | 1494 | 434 | 530 | 1925 | 2.9 | 2 | 0.4% | -7% | C31D
34 | Vl | Wentzel Dam | -25.9459 | 26.2913 | Uswentzd.inc | Uswentzd.ran | C3R001 | 7740 | 5785 | 544 | 1904 | 39.5 | 5 | 0.9% | -7% | C31A,B,C&E
35 | Vl | Spitskop Dam | -26.6009 | 24.9814 | Spits.inc | Spits.ran | C3R002 | 15899 | 9249 | 438 | 2039 | 81.3 | 5 | 1.2% | 5% | C32A-D,C33A&B
36 | Vl | Taung Dam | -27.2851 | 25.2496 | Dswentzd.inc | Dswentzd.ran | C3H003 | 1789 | 1756 | 477 | 1960 | 12.1 | 7 | 1.4% | -7% | C31F
37 | Vl | Vaalharts Weir | -27.3315 | 25.5298 | Vharts.inc | Vharts.ran | C9R001 | 7225 | 2509 | 444 | 1946 | 10 | 1 | 0.3% | -11% | C91A&B
38 | Vl | Lower Harts | -27.885 | 23.8348 | Lowharts.inc | Lowharts.ran | - | 4149 | 1691 | 397 | 2150 | 11.7 | 3 | 0.7% | 0% | C33C
39 | Vl | De Hoop | -28.4231 | 25.8392 | Dehoop.inc | Dehoop.ran | C9H009 | 6587 | 3201 | 406 | 1963 | 15.3 | 2 | 0.6% | 18% | C91C,D&PrtnC91E
40 | Vl | Douglas Weir | -28.1532 | 23.6165 | Douglas.inc | Douglas.ran | C9R003 | 10136 | 4405 | 350 | 2221 | 18.6 | 2 | 0.5% | 0% | PrtnC91E,C92A-C,C51M
41 | RM | Aucampshoop | -29.36 | 25.1774 | Auch.inc | Auch.ran | C5H016 | 5664 | 1847 | 350 | 2050 | 5.8 | 1 | 0.3% | -9% | C51K&L
42 | RM | Tweerivier | -28.6603 | 25.7911 | Twee.inc | Twee.ran | C5H018 | 11035 | 2236 | 422 | 1871 | 15.7 | 1 | 0.3% | 9% | C52H-L
43 | RM | Krugersdrift Dam | -29.4046 | 26.881 | Krug.inc | Krug.ran | C5R004 | 5394 | 5391 | 508 | 1639 | 118.1 | 22 | 4.3% | 3% | C52B-G
44 | RM | Kalkfontein Dam | -29.6814 | 26.3601 | Kalkf.inc | Kalkf.ran | C5R002 | 9342 | 8781 | 412 | 1740 | 185.9 | 20 | 4.8% | -14% | C51A-C&C51E-J
45 | RM | Tierpoort Dam | -29.6384 | 26.5183 | Tier.inc | Tier.ran | C5R001 | 922 | 922 | 491 | 1640 | 23.2 | 25 | 5.1% | -2% | C51D
46 | RM | Rustfontein Dam | -29.549 | 26.7417 | Rustf.inc | Rustf.ran | C5R003 | 937 | 937 | 543 | 1600 | 31 | 33 | 6.1% | 1% | C52A
47 | SE | Katze | -28.7394 | 28.765 | kat9.inc | kat9.ran | D1R002 | 1867 | 1867 | 922 | 1299 | 559.4 | 300 | 32.5% | 2% | D11A-F
48 | SE | Matsoku | -28.9766 | 28.8115 | mat9.inc | mat9.ran | SG42 | 652 | 652 | 721 | 1299 | 98.1 | 150 | 20.9% | 4% | D11G&H
49 | SE | Mashai | -29.3084 | 28.6344 | mas9.inc | mas9.ran | SG36, SG08, SG06, SG05 | 5458 | 5458 | 786 | 1332 | 792.9 | 145 | 18.5% | 2% | D11J-K,D16A-M
50 | SE | Mohale | -29.2431 | 28.2493 | moh9.inc | moh9.ran | D1R003, SG17 | 938 | 938 | 944 | 1299 | 303.2 | 323 | 34.2% | 0% | D17A&B(partly)
51 | SE | Malatsi | -29.58 | 28.1857 | mal9.inc | mal9.ran | SG32 | 2628 | 2628 | 694 | 1323 | 291.7 | 111 | 16% | 3% | D17B(partly)-D17F
52 | SE | Tsoelike | -29.6745 | 28.9799 | tso9.inc | tso9.ran | SG07 | 2394 | 2394 | 785 | 1390 | 362.6 | 151 | 19.3% | 2% | D17G-L(partly)
53 | SE | Ntoahae | -29.9444 | 28.4728 | nto9.inc | nto9.ran | - | 1130 | 1130 | 796 | 1401 | 154.5 | 137 | 17.2% | 2% | D17L(partly)-M
54 | SE | Oranjedraai | -29.7485 | 27.9932 | oran9.inc | oran9.ran | SG03, D1H006, D1H009 | 9613 | 9613 | 742 | 1432 | 1557.7 | 162 | 21.8% | 1% | D18A-L,D15A-L
55 | SE | Aliwal Noord | -30.3828 | 27.2832 | aliwal.inc | aliwal.ran | D1H003 | 2967 | 2967 | 607 | 1590 | 155.5 | 52 | 8.6% | -7% | D12A-F
56 | CA | Klein Caledon (D21D&E) | -28.5262 | 28.5708 | D21ED.inc | D21ED.ran | D2H012 | 520 | 520 | 811 | 1299 | 47 | 90 | 11.1% | -1% | D21D&E
57 | CA | D21A | -28.6276 | 28.6138 | D21A.inc | D21A.ran | CG55 | 309 | 309 | 978 | 1276 | 56.9 | 184 | 18.8% |  | D21A
58 | CA | D21B | -28.7858 | 28.4969 | D21B.inc | D21B.ran | CG26 | 394 | 394 | 1021 | 1276 | 78.3 | 199 | 19.5% |  | D21B
59 | CA | D21K | -29.023 | 28.3559 | D21K.inc | D21K.ran | CG50 | 326 | 326 | 960 | 1299 | 91.8 | 282 | 29.3% |  | D21K
60 | CA | D21JL | -28.9422 | 28.4212 | D21JL.inc | D21JL.ran | CG25 | 663 | 663 | 931 | 1311 | 158.2 | 239 | 25.6% |  | D21J&L
61 | CA | D21 Incremental | -28.7892 | 28.3439 | D21.inc | D21.ran | D2H035 | 1351 | 1351 | 763 | 1318 | 128.1 | 95 | 12.4% |  | D21C,F,G,H
62 | CA | D22 Incremental | -28.5434 | 27.9347 | D22.inc | D22.ran | - | 6200 | 6200 | 733 | 1420 | 446.2 | 72 | 9.8% |  | D22A-L
63 | CA | Armenia Dam (D23C) | -29.1554 | 27.2867 | D23C.inc | D23C.ran | D2R002 | 861 | 861 | 638 | 1499 | 30.1 | 35 | 5.5% |  | D23C
64 | CA | Welbedacht Dam (D23 incremental) | -29.5559 | 27.5221 | D23.inc | D23.ran | D2H001, D2R004 | 3870 | 3870 | 632 | 1513 | 171.6 | 44 | 7% |  | D23A-G&J
65 | CA | Knelpoort Dam D23H) | -29.7507 | 26.6094 | D23H.inc | D23H.ran | D2R006 | 776 | 776 | 670 | 1600 | 17.6 | 23 | 3.4% | -15% | D23H
66 | CA | Egmond Dam (D24A) | -30.043 | 27.1784 | D24A.inc | D24A.ran | D2R001 | 310 | 310 | 627 | 1548 | 10.9 | 35 | 5.6% | 61% | D24A
67 | CA | Lower Caledon (Downstream from Welbedacht Dam) | -30.1943 | 27.089 | D24.inc | D24.ran | - | 6304 | 6304 | 487 | 1621 | 129.7 | 21 | 4.2% | -6% | D24B-L
68 | Ou | KraaiRiver (D13) | -30.9197 | 28.0207 | D13.inc | D13.ran | D1H011 | 9354 | 9354 | 646 | 1583 | 650.5 | 70 | 10.8% | -11% | D13A-M
69 | Ou | Burgersdorp/Molento | -313.511 | 26.3532 | D14B-E.inc | D14B-E.ran | D1H001/D1H004 | 2389 | 2389 | 460 | 1701 | 42.6 | 18 | 3.9% | -19% | D14B-E
70 | Ou | Gariep Incremental | -30.5106 | 26.6437 | gariep.inc | gariep.ran | D3R002 (D3H002) | 9394 | 9394 | 424 | 1706 | 131.5 | 14 | 3.3% | -36% | D14A,F-K,D35A-K
71 | Ou | Seekoei | -31.8279 | 24.4004 | D32A-J.inc | D32A-J.ran | D3H015 | 8257 | 8257 | 312 | 1912 | 36.9 | 4 | 1.4% | -42% | D32A-K
72 | Ou | Vanderkloof Incremental | -30.1135 | 25.3373 | vdkloof.inc | vdkloof.ran | D3R003 | 10754 | 10240 | 356 | 1848 | 79.1 | 7 | 2.1% | -5% | D31A-E,D34A-G
73 | Ou | Orange-Vaal Incremental (D/S of Vanderkloof) | -30.0172 | 24.605 | orvaal.inc | orvaal.ran |  | 9598 | 3404 | 307 | 2201 | 14.3 | 1 | 0.5% | 0% | D33A-K
74 | BO | Ongers at Smartt Syndicate Dam | -31.4956 | 23.9139 | GROUP1.INC | GROUP1.ran | D6R002 | 13405 | 12426 | 241 | 2190 | 22.1 | 2 | 0.7% | -10% | D61A-D61M
75 | BO | Ongers between Smartt Syndicate Dam and Orange River confluence | -30.4212 | 23.5082 | GROUP2.INC | GROUP2.ran |  | 20328 | 12178 | 255 | 2220 | 30.2 | 1 | 0.6% | -7% | D62A-D62J
76 | Om | Orange River between Vaal and Ongers confluence | -29.0236 | 23.4927 | GROUP3.INC | GROUP3.ran |  | 7390 | 4792 | 280 | 2350 | 17.5 | 2 | 0.8% | -10% | D71A-D71D
77 | Om | Orange River between Ongers confluence and Buchuberg Dam | -29.8315 | 22.8687 | GROUP4.INC | GROUP4.ran |  | 6742 | 5714 | 208 | 2450 | 11.6 | 2 | 0.8% | -32% | D72A-D72C
78 | Om | Orange River between Buchuberg Dam and Hartbees confluence | -28.2706 | 23.1506 | GROUP5.INC | GROUP5.ran |  | 25968 | 11080 | 218 | 2550 | 21.1 | 1 | 0.4% | -43% | D73A-D73F
79 | SH | Fish River (main tributary of Sak River) | -32.2864 | 20.5805 | GROUP6.INC | GROUP6.ran | D5H017 | 16806 | 15153 | 200 | 1990 | 46.4 | 3 | 1.4% | 107% | D51,D52,D56&D58
80 | SH | Sak River to confluence with Fish River | -32.0323 | 22.3941 | GROUP7.INC | GROUP7.ran | D5R001 | 19398 | 19225 | 175 | 2240 | 22.1 | 1 | 0.7% | -48% | D55A-D55M
81 | SH | Fish-Sak confluence to Sak-Hartbees confluence | -30.7611 | 20.4902 | GROUP8.INC | GROUP8.ran | D5R001 | 10165 | 6197 | 140 | 2360 | 3.9 | 0 | 0.3% | 48% | D57A-D57E
82 | SH | Hartbees River to Vanwyksvlei | -30.8642 | 21.8311 | GROUP9.INC | GROUP9.ran | D5R001 | 5571 | 4724 | 187 | 2325 | 9.6 | 2 | 0.9% | 40% | D54A-D54B
83 | SH | Catchment | -30.5677 | 21.7099 | GROUP10.INC | GROUP10.ran | D5R001 | 1342 | 1342 | 155 | 2325 | 1.4 | 1 | 0.7% | 40% | D54C
84 | SH | Remainder of Sak-Hartbees to Rooiberg Dam | -29.4924 | 21.7434 | GROUP11.INC | GROUP11.ran | D5R001 | 18648 | 11513 | 166 | 2430 | 16 | 1 | 0.5% | 72% | D53A&D54D-D54G
85 | SH | Rooiberg Dam to confluence with Orange River | -29.1933 | 21.5835 | GROUP12.INC | GROUP12.ran |  | 21111 | 18588 | 113 | 2370 | 10.9 | 1 | 0.5% | -44% | D53B-D53J
86 | Ol | Orange River between Hartbees confluence and Namibian border | -28.6157 | 20.5392 | GROUP13.INC | GROUP13.ran |  | 5844 | 4010 | 122 | 2730 | 4.5 | 1 | 0.6% | 4% | D81A-D81C
87 | Ol | Remainder of Tertiary D81 (RSA) | -28.9715 | 19.9152 | GROUP14.INC | GROUP14.ran |  | 6965 | 6965 | 102 | 2720 | 3.1 | 0 | 0.4% | 25% | D81D-D81G
88 | Ol | Remainder of Tertiary D81 (Namibia) | -27.5855 | 19.003 | GROUP15.INC | GROUP15.ran | TSAMAB | 20870 | 20870 | 144 | 2600 | 53.1 | 3 | 1.8% | N/A | D81H-D81K
89 | Ol | Tertiary D82 to Vioolsdrift (RSA) | -29.036 | 18.8967 | GROUP16.INC | GROUP16.ran |  | 14701 | 12809 | 88 | 2640 | 4.6 | 0 | 0.4% | 56% | D82A-D82E
90 | Ol | Tertiary D82 to Vioolsdrift (Namibia) | -27.7957 | 18.6942 | GROUP17.INC | GROUP17.ran |  | 8553 | 8553 | 118 | 2600 | 13 | 2 | 1.3% | N/A | D82M
91 | Ol | Vioolsdrift to sea (RSA) | -28.9715 | 17.7144 | GROUP18.INC | GROUP18.ran |  | 5511 | 5376 | 56 | 2350 | 1.6 | 0 | 0.5% | 6% | D82F-D82L
92 | Ol | Vioolsdrift to sea (Namibia) | -28.1503 | 18.2353 | GROUP19.INC | GROUP19.ran |  | 13995 | 13995 | 80 | 2555 | 4.5 | 0 | 0.4% | N/A | D82N-D82P
93 | Mu | Sb1Ru1-D41A | -25.9069 | 25.7814 | D41A.inc | D41A.ran | D4H013, D4H037 | 4301 | 2778 | 521 | 1951 | 9.9 | 2 | 0.4% |  | D41A
94 | Mu | Sb1Ru2-D41B | -26.3826 | 25.2515 | D41B.inc | D41B.ran | D4H002 | 6239 | 5193 | 476 | 1951 | 4.7 | 1 | 0.2% |  | D41B
95 | Mu | Sb1Ru3-D41C | -26.3285 | 24.5478 | D41C.inc | D41C.ran |  | 3915 | 2995 | 416 | 2050 | 2.8 | 1 | 0.2% |  | D41C
96 | Mu | Sb1Ru4-D41D | -26.518 | 24.2382 | D41D.inc | D41D.ran |  | 4371 | 2744 | 380 | 2050 | 1.2 | 0 | 0.1% |  | D41D
97 | Mu | Sb2Ru1-D41E | -25.698 | 23.569 | D41E.inc | D41E.ran |  | 4535 | 467 | 346 | 2250 | 0 | 0 | 0% |  | D41E
98 | Mu | Sb2Ru2-D41F | -26.1776 | 23.7315 | D41F.inc | D41F.ran |  | 6002 | 1498 | 338 | 2250 | 0 | 0 | 0% |  | D41F
99 | Mu | Sb2Ru3-D41H1-D41G | -26.187 | 23.0071 | D41G.inc | D41G.ran |  | 3277 | 850 | 307 | 2250 | 0 | 0 | 0% |  | D41G
100 | Mu | B5Ru1-Z10C-F41N Botswana | -25.5409 | 25.4585 | D41N.inc | D41N.ran |  | 3357 | 1372 | 476 | 1951 | 3.2 | 1 | 0.2% |  | D41N
101 | Mu | B4Ru1-Z10D-D41M Botswana | -25.4541 | 23.9753 | D41M.inc | D41M.ran |  | 1701 | 936 | 371 | 2250 | 1.1 | 1 | 0.2% |  | D41M
102 | Mu | B3Ru1-Z10F-D41K Botswana | -24.8969 | 22.5259 | D41K.inc | D41K.ran |  | 10718 | 750 | 288 | 2250 | 0 | 0 | 0% |  | D41K
103 | Mu | Sb3Ru1-D42C1-D31J | -26.4492 | 22.3503 | D41J.inc | D41J.ran |  | 2685 | 190 | 225 | 2700 | 0 | 0 | 0% |  | D41J
104 | Mu | D41L&H | - | - | - | - | Modelled as Endoreic | 91605 | 0 | N/A | N/A | N/A | N/A | N/A |  | D41L&H
105 | KU | S1Ru1-D41H2-D42A | -26.7332 | 23.8082 | D42A.inc | D42A.ran |  | 5371 | 1388 | 316 | 1951 | 0.2 | 0 | 0% |  | D42A
106 | KU | S1Ru2-D41G-D42B | -27.1782 | 23.9679 | D42B.inc | D42B.ran |  | 4305 | 2408 | 361 | 2199 | 1.4 | 0 | 0.1% |  | D42B
107 | KU | S2Ru3-D41L-D42D | -27.446 | 23.7101 | D42D.inc | D42D.ran |  | 5375 | 2946 | 403 | 2250 | 6.4 | 1 | 0.3% |  | D42D
108 | KU | S2Ru1-D41J-D42F | -28.0077 | 23.3211 | D42F.inc | D42F.ran |  | 3874 | 1360 | 323 | 2351 | 0.7 | 0 | 0.1% |  | D42F
109 | KU | S2Ru2-D41K-D42E | -27.5016 | 23.1526 | D42E.inc | D42E.ran |  | 4213 | 1552 | 330 | 2351 | 1.1 | 0 | 0.1% |  | D42E
110 | KU | S2Ru4-D41M-D42C | -26.9251 | 22.9301 | D42C.inc | D42C.ran |  | 2626 | 471 | 322 | 2399 | 0 | 0 | 0% |  | D42C
111 | KU | S3Ru1-D42C2-D42G | -27.5996 | 22.0845 | D42G.inc | D42G.ran |  | 15431 | 1075 | 258 | 2700 | 0 | 0 | 0% |  | D42G
112 | Ml | Sn1Ru1-D42D-D45C | -26.9546 | 20.4452 | D45C.inc | D45C.ran |  | 16210 | 138 | 182 | 2750 | 0 | 0 | 0% |  | D45C
113 | Ml | S4Ru1-D42E-D45D | -28.1702 | 20.8988 | D45D.inc | D45D.ran |  | 4208 | 1044 | 188 | 2750 | 0 | 0 | 0% |  | D45D
114 | Ml | D45A&B | - | - | - | - | Modelled as Endoreic | 17923 | 0 | N/A | N/A | N/A | N/A | N/A |  | D45A&B
115 | NO | N1Ru2-Z10A2-D43A2-Daan Viljoen (Black Nossop) | -22.1353 | 17.6289 | Dvilj.inc | Dvilj.ran | 3111R01 Daan Viljoen & 3111M02 Mentz & 3111M01 Henopsrus | 7992 | 966 | 268 | 1691 | 1.2 | 0 | 0.1% |  | Part of D43A,upstream of Daan Viljoen Dam
116 | NO | N1Ru1-Z10A1-D43A1-Otjivero (Whote Nossob) | -22 | 18.5847 | Otjv.inc | Otjv.ran | 3112M02 Amasib & 3111M02 Mentz | 9207 | 966 | 268 | 1691 | 1.2 | 0 | 0% |  | Part of D43A,upstream of confluence with Black Nossob
117 | NO | N2Ru1-Z10A3-D43B-Middle Nossob | 30312 | 19.074 | D43B.inc | D43B.ran |  | 46499 | 5041 | 270 | 1691 | 4.1 | 0 | 0% |  | D43B
118 | NO | Snb2Ru1-D42A1-D43C Botswana | -23.3089 | 20.2166 | D43C.inc | D43C.ran |  | 4749 | 342 | 222 | 2900 | 0 | 0 | 0% |  | D43C
119 | NO | Snb1Ru1-D42B-D44D Botswana | -25.1572 | 20.2051 | D44D.inc | D44D.ran |  | 3203 | 101 | 165 | 2951 | 0 | 0 | 0% |  | D44D
120 | AU | N3Ru1-Z10A5-D44A1-Seeis River | -26.5487 | 17.4229 | Seeis.inc | Seeis.ran |  | 2843 | 146 | 331 | 1691 | 0.2 | 0 | 0% |  | Part of D44A,upstream of confluence with Olifants
121 | AU | N3Ru2-Z10A4-D44A2-Upper Olifants River | -22.6374 | 17.7936 | Uolif.inc | Uolif.ran |  | 1105 | 218 | 331 | 1691 | 0.2 | 0 | 0.1% |  | Part of D44A,upstream of confluence with Seeis
122 | AU | N4Ru2-Z10A7-D44B1-Lower Olifants River | -23.4549 | 18.0264 | Lolif.inc | Lolif.ran |  | 12106 | 2032 | 195 | 1691 | 0.7 | 0 | 0% |  | Part of D44B,upstream of confluence with Auob
123 | AU | N4RU1-Z10A6-D44B2-Upper Auob River | -24.6907 | 18.217 | UAub.inc | UAub.ran | 3124M02 Stampriet & 3124M01 Cochas | 19383 | 1356 | 195 | 1691 | 3.3 | 0 | 0.1% |  | Part of D44B,Auob River
124 | AU | Sn2Ru1-D42A2-D44C-Lower Auob Rover Botswana | -25.5561 | 22.1616 | D44C.inc | D44C.ran |  | 5592 | 401 | 120 | 2900 | 0 | 0 | 0% |  | D44C
125 | AU | Nauaspoort Dam, Oanob Dam and remainder of Skaap - Not modelled in Molopo-Nossob Study | - | - | - | - |  | 16633 | N/A | N/A | N/A | N/A | N/A | N/A |  | D44E-G