{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Dams"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Dams","index":0,"n_rows":62,"n_cols":31,"rows_kept":62,"cut":false,"hidden":false,"merged":[]}
[null,null,"Dam number","Co-ordinates",null,"Co-ordinates",null,null,"Current",null,null,null,null,"Future",null,null,null,null,"Runoff module","Runoff scaling "," "]
["#","Dam Name","(South African dams)","Lat","Long","Lat","Long","SizeFactor","FSA (km2)","FSV (Mm3)","FSL (m)","DSL (m)","Bottom (m)","FSA (km2)","FSV (Mm3)","FSL (m)","DSL (m)","Bottom (m)","Name","Factor"]
[1,"Woodstock Dam","V1R003",-28.76,29.24,-28.761111111111113,29.244166666666668,1,29.1,373.3,1175.56,1150,1135.5,29.1,373.3,1175.56,1150,1135.5,"tm0194",0,null,"28:45:40  29:14:39",null,28,45,40,29,14,39,{"$f":"X3+(Y3/60)+(Z3/3600)","v":28.761111111111113},{"$f":"AA3+(AB3/60)+(AC3/3600)","v":29.244166666666668}]
[2,"Driel Barrage","V1R002",-28.76,29.29,-28.763055555555557,29.291944444444447,1,3.1,10.4,1134,1125,1124,3.1,10.4,1134,1126,1121.1514,"tm0394",1,null,"28:45:47  29:17:31",null,28,45,47,29,17,31,{"$f":"X4+(Y4/60)+(Z4/3600)","v":28.763055555555557},{"$f":"AA4+(AB4/60)+(AC4/3600)","v":29.291944444444447}]
[3,"Grootdraai Dam","C1R002",-26.917570000000001,29.310690000000001,-26.93,29.332000000000001,1,38.799999999999997,356,1548.96,1533,1514,38.799999999999997,356,1548.96,1533,1514,"Grootd4",0]
[4,"Saulspoort Dam","C8R004",-28.2,28.3,-28.221,28.369,1,4,16.899999999999999,1627.28,1616.8,1616.8,4,16.899999999999999,1627.28,1616.83,1616.83,"Fran4",3.9E-2]
[5,"Sterkfontein Dam","C8R003",-28.4,29,-28.427,29.015999999999998,1,67.3,2617,1702,1646,1617,67.3,2617,1702,1646,1617,"Sterk4",1]
[6,"Vaal Dam","C1R001",-26.904450000000001,28.127549999999999,-26.896000000000001,28.138000000000002,1,322.8,2609.8000000000002,1484.56,1462.9,1444.5,322.8,2609.8000000000002,1484.56,1462.93,1444.5,"Vaal4",0]
[7,"Vaal Barrage","C2R008",-26.77,27.68,-26.766111111111101,27.684166666666702,1,13.5,55.4,1421.09,1413.5,1410.5,13.5,55.4,1421.09,1413.46,1410.5,"Barr4",0]
[8,"Kalk Dam",null,-26.41,26.79,-26.412649999999999,26.796679999999999,1,1,2.2000000000000002,1327.34,1325,1325,1,2.2000000000000002,1327.34,1325,1325,"c24e4",0]
[9,"Rietspruit Dam","C2R007",-26.4,26.81,-26.408000000000001,26.81,1,2.2999999999999998,7.3,1410.27,1403,1403,2.2999999999999998,7.3,1410.27,1403.45,1403,"c24d4",0]
[10,"Klerksdorp (Johan Neser) Dam","C2R002",-26.8,26.6,-26.802,26.605,1,2.7,5.7,1317.71,1311.6,1311,2.7,5.7,1317.71,1311.56,1311,"c24g4",0]
[11,"Elandskuil Dam","C2R006",-26.3,26.7,-26.344999999999999,26.779,1,0.5,1.2,1438.62,1432.3,1432,0.5,1.2,1438.62,1432.25,1432,"c24e4",0.05]
[12,"Koppies Dam","C7R001",-27.2,27.6,-27.228999999999999,27.693999999999999,1,13.8,42.3,1412.43,1408,1406.5,13.8,42.3,1412.43,1407.56,1406.5,"C70ABC4",0]
[13,"Serfontein Dam","C6R002",-27.7,27.3,-27.702999999999999,27.305,1,1.8,5.3,1303.5,1300,1300,1.8,5.3,1303.5,1300,1300,"klipbn4",0.66100000000000003]
[14,"Bloemhof Dam","C9R002",-27.67,25.62,-27.668055555555558,25.6175,1,233.5,1264.4000000000001,1228.5,1213.5999999999999,1210.8,233.5,1264.4000000000001,1228.5,1213.5899999999999,1210.82,"bloemn3d4",0,null,"27:40:05  25:37:03",null,27,40,5,25,37,3,{"$f":"X16+(Y16/60)+(Z16/3600)","v":27.668055555555558},{"$f":"AA16+(AB16/60)+(AC16/3600)","v":25.6175}]
[15,"Klerkskraal Dam",null,-26.2,27.1,-26.241,27.152999999999999,1,3.8,8.1999999999999993,1461.11,1456.2,1454.5,3.8,8.1999999999999993,1461.11,1456.24,1455,"klerk4",1]
[16,"Boskop Dam",null,-26.5,27.1,-26.550999999999998,27.12,1,3.8,20.9,1386.92,1374.8,1372,3.8,20.9,1386.92,1374.78,1372,"bosk4",0]
[17,"Klipdrif Dam",null,-26.6,27.3,-26.606999999999999,27.314,1,4.7,13.6,1368.35,1363.5,1363.5,4.7,13.6,1368.35,1363.47,1363,"klipdn4",0]
[18,"Allemanskraal Dam","C4R001",-28.2,27.2,-28.297000000000001,27.207999999999998,1,26.5,179.3,1368.74,1355.9,1353,26.5,179.3,1368.74,1357.46,1353,"allem4",0.75]
[19,"Erfenis Dam","C4R002",-28.5,26.8,-28.550999999999998,26.835999999999999,1,32.9,212.2,1331.94,1318.2,1313,32.9,212.2,1331.94,1321.84,1313,"erf4",0.8]
[20,"Potchefstroom Dam",null,-26.6,27,-26.667000000000002,27.097000000000001,1,0.8,2,1346.1,1340,1340,null,null,null,null,null,"lakesn4",0]
[21,"Baberspan","C3R003",-26.5,25.5,-26.568055555555599,25.598333333333301,1,16,30.4,1492.5,1490,1490,null,null,null,null,null,"Babers4",1]
[22,"Wentzel Dam",null,-27.1,25.3,-27.1736,25.336300000000001,1,3,6.6,1297.73,1291.3,1291.3,3,6.6,1297.73,1291.3,1291.3,"USWentzD4",0.3]
[23,"Taung Dam","C3R006",-27.5,24.8,-27.530999999999999,24.856000000000002,1,4.5999999999999996,65.2,1155,1129,1120,4.5999999999999996,65.2,1155,1129,1120,"DSWentzD4",0.79]
[24,"Spitskop Dam","C3R002",-28,24.5,-28.091999999999999,24.547000000000001,1,25.3,57.9,1042.56,1037.0999999999999,1037,25.3,57.9,1042.56,1037.08,1037,"Spits4",0]
[25,"Vaalharts Dam","C9R001",-28.1,24.9,-28.113,24.942,1,21.2,48.7,1190.19,1182.9000000000001,1182.9000000000001,21.2,48.7,1190.19,1182.8800000000001,1182.8800000000001,"Vharts",1]
[26,"Katse Dam","D1R002",-29.3,28.4,-29.327999999999999,28.491,1,35.799999999999997,1950,2053,1989,1895,35.799999999999997,1950,2053,1989,1895,"kat10",1]
[27,"Mohale Dam","D1R003",-29.4,28.1,-29.439444444444401,28.092728000000001,1,22.1,938,2075,2005,1940,22.1,938,2075,2005,1940,"moh10",1]
[28,"Armenia Dam","D2R002",-29.3,27.1,-29.362829999999999,27.131723000000001,1,3.9,13.8,1514.9,1503,1503,null,null,null,null,null,"ARMEN",1]
[29,"Knellpoort Dam","D2R006",-29.7,26.8,-29.777000000000001,26.89,1,9.8000000000000007,137,1452.1,1428.6,1412,9.8000000000000007,137,1452.1,1436.6,1412,"Knell",1]
[30,"Welbedacht Dam","D2R004",-29.8,26.8,-29.881,26.872,1,11.8,15.5,1402.9,1385.2,1383.2,11.8,15.5,1402.9,1385.22,1385.22,"Welinc",0]
[31,"Rustfontein Dam","C5R003",-29.2,26.6,-29.2705555555556,26.614722222222223,1,11.6,72.599999999999994,1373.96,1356.3,1354,11.6,72.599999999999994,1373.96,1356.27,1354,"Rustf4",0,null,"29:16:14  26:36:53",null,29,16,14,26,36,53,{"$f":"X33+(Y33/60)+(Z33/3600)","v":29.270555555555553},{"$f":"AA33+(AB33/60)+(AC33/3600)","v":26.614722222222223}]
[32,"Groothoek Dam","C5R005",-29.2,26.8,-29.302222222222198,26.846944444444443,1,2.9,15,1494.96,1484.8,1470,2.9,15,1494.96,1483.62,1470,"Krug4",4.5999999999999999E-2,null,"29:18:08  26:50:49",null,29,18,8,26,50,49,{"$f":"X34+(Y34/60)+(Z34/3600)","v":29.302222222222223},{"$f":"AA34+(AB34/60)+(AC34/3600)","v":26.846944444444443}]
[33,"Mockes Dam","C5R007",-29,26.4,-29.058,26.463999999999999,1,3.4,4.5999999999999996,1303.5999999999999,1301.9000000000001,1299.5,3.4,4.5999999999999996,1303.5999999999999,1299.5,1299.5,"Krug4",0]
[34,"Krugersdrift Dam","C5R004",-28.8,26,-28.869,26.003,1,18.8,68.900000000000006,1248.1300000000001,1229.9000000000001,1229.9000000000001,18.8,68.900000000000006,1248.1300000000001,1233,1299.8499999999999,"Krug4",0]
[35,"Tierpoort Dam","C5R001",-29.4,26.1,-29.411000000000001,26.15,1,9.1,34.5,1382.74,1374.5,1374.5,9.1,34.5,1382.74,1374.36,1373.65,"Tier4",0]
[36,"Kalkfontein Dam","C5R002",-29.5,25.2,-29.524000000000001,25.257999999999999,1,45.3,319.60000000000002,1229.02,1210.0999999999999,1210.0999999999999,45.3,319.60000000000002,1229.02,1210.06,1210.06,"Kalkf",0]
[37,"Douglas Weir",null,-29.9,26.4,-29.946000000000002,26.468,1,7.8,16.100000000000001,990.54,988.6,987.8,7.8,16.100000000000001,990.54,987.75,985,"Auch4",1]
[38,"Tweerivier Dam",null,-29,24.6,-29.0286111111111,24.638055555555599,1,7.5,12.6,1490.15,1488,1488,7.5,12.6,1490.15,1490,1490,"Krug4",0]
[39,"Knoffelfontein Dam",null,-29,24.5,-29.001388888888901,24.501388888888901,1,2.2999999999999998,22,1492.97,1490,1490,2.2999999999999998,22,1492.97,1490.01,1490,"Twee4",0]
[40,"Gariep Dam","D3R002",-30.6,25.7,-30.690999999999999,25.706,1,352.2,5348.1,1258.69,1233.0999999999999,1202.9000000000001,352.2,5348.1,1258.69,1231.6300000000001,1202.8800000000001,"Verw4",1]
[41,"Vanderkloof Dam","D3R003",-30.1,24.8,-30.152000000000001,24.879000000000001,1,133.4,3188.6,1170.5,1151,1109.8,133.4,3188.6,1170.5,1147.78,1109.8,"pkdu4",0]
[42,"Lotlamoreng Dam",null,-25.8,25.6,-25.875,25.600999999999999,1,0.3,0.4,1700,1671,1671,null,null,null,null,null,"gro",0]
[43,"Setumo Dam",null,-25.8,25.5,-25.858599999999999,25.500399999999999,1,4.4000000000000004,19.600000000000001,1226.3,1213.4000000000001,1213,null,null,null,null,null,"com22",0]
[44,"Disaneng Dam",null,-25.8,25.3,-25.841000000000001,25.343,1,4.4000000000000004,16,1700,1671,1671,null,null,null,null,null,"D41Ared",0]
[45,"Otjivero Dam",null,-22.2,17.899999999999999,-22.288611111111113,17.965277777777779,1,1.5,9.8000000000000007,1700,1671,1671,null,null,null,null,null,"Otjv",0]
[46,"Daan Viljoen Dam",null,-22.18,18.8,-22.18019,18.850909999999999,1,0.2,0.4,1700,1671,1671,null,null,null,null,null,"DVilj",0]
[47,"Tilda Viljoen Dam",null,-22.4,18.899999999999999,-22.444166666666668,18.952777777777776,1,0.2,1.2,1700,1671,1671,null,null,null,null,null,"DVilj",0]
[48,"Victoria West Dam","D6R001",-31.4,23.1,-31.402000000000001,23.1,1,2.2000000000000002,3.7,1700,1671,1671,null,null,null,null,null,"LOGR1",0.03]
[49,"Smartt Syndicate Dam","D6R002",-30.6,23.3,-30.611944444444401,23.299444444444447,1,31.4,101.1,1700,1671,1671,null,null,null,null,null,"LOGR1",0.69,null,"30:36:43  23:17:58",null,30,36,43,23,17,58,{"$f":"X51+(Y51/60)+(Z51/3600)","v":30.611944444444447},{"$f":"AA51+(AB51/60)+(AC51/3600)","v":23.299444444444447}]
[50,"Modderpoort Dam",null,-31.9,22.1,-31.951000000000001,22.145,1,2.2000000000000002,12.3,1700,1671,1671,null,null,null,null,null,"LOGR7",0.04]
[51,"Loxton Dam",null,-31.4,22.3,-31.478000000000002,22.367999999999999,1,0.3,3.4,1700,1671,1671,null,null,null,null,null,"LOGR7",0.08]
[52,"Vanwyksvlei Dam","D5R002",-30.4,21.8,-30.411999999999999,21.8,1,49.6,143.1,1700,1671,1671,null,null,null,null,null,"LOGR10",1]
[53,"Rooiberg Dam","D5R001",-29.407920000000001,21.204999999999998,-29.400277777777799,21.205555555555556,1,3.1,3.7,1700,1671,1671,null,null,null,null,null,"LOGR11",0,null,"29:24:01  21:12:20",null,29,24,1,21,12,20,{"$f":"X55+(Y55/60)+(Z55/3600)","v":29.400277777777777},{"$f":"AA55+(AB55/60)+(AC55/3600)","v":21.205555555555556}]
[54,"Hardap Dam",null,-24.5,17.8,-24.500277777777779,17.858611111111113,1,28.7,294.60000000000002,1135,1114.8,1109.9000000000001,28.7,294.60000000000002,1135,1114.8,1109.9000000000001,"Hardp4",1]
[55,"Naute Dam",null,-26.9,17.899999999999999,-26.931111111111111,17.9375,1,11.5,83.6,732,711.3,703.5,11.5,83.6,732,711.3,703.5,"Naut4",1]
[56,"Boegoeberg Dam","D7R001",-29,22.2,-29.0413888888889,22.20611111111111,1,6.9,20.7,884.57,875.3,874.9,6.9,20.7,884.57,875.32,874.9,"rood4",0,null,"29:02:29  22:12:22",null,29,2,29,22,12,22,{"$f":"X58+(Y58/60)+(Z58/3600)","v":29.041388888888889},{"$f":"AA58+(AB58/60)+(AC58/3600)","v":22.20611111111111}]
[57,"Polihali Dam",null,-29.285329999999998,28.928609999999999,-29.285329999999998,28.928609999999999,1,0,0,0,0,0,50.42,2322.19,2075,2009,1925,"mas10",0.66]
[58,"Heyshope Dam","W5R004",-26.995000000000001,30.523055555555555,-26.995000000000001,30.523055555555555,1]
[59,"Zaaihoek Dam","V3R003",-27.43888888888889,30.058611111111112,-27.43888888888889,30.058611111111112,1]
[60,"Grassridge Dam","Q1R001",-31.767499999999998,25.465277777777779,-31.767499999999998,25.465277777777779,1]