Report on South African Mining-Related Water Research

Dr Jo Burgess

Water Research Commission, South Africa; job@wrc.org.za

SUMMARY

The South African Water Research Commission (WRC) is the newest member of the Global Alliance of research organisations, which support the activities of the International Network for Acid Prevention (INAP) and hence support world-class research into mining-related water issues in South Africa. This report provides an overview of research and other activities that have resulted in an improved ability to predict the likelihood of acid rock drainage, strategies to minimise the production and impact of acid drainage, advances with technologies to treat acid drainage and South African technology transfer activities.

Introduction

The Water Research Commission (WRC) is a South African statutory body that was established in 1970 against the background of South Africa’s water scarcity and the realisation that a lack of water is potentially the most important factor limiting its development. The WRC’s mandate is to promote co-ordination, co-operation and communication in water research and development. The WRC thus endeavours to establish water research needs and priorities, which are then encouraged and funded. Furthermore, it strives to enhance knowledge and capacity building in the water sector and to promote effective transfer of new information and technology. The WRC decided not to build a research institution of its own, but instead promotes and expands existing research infrastructure by outsourcing, but actively managing, research projects. The WRC’s research initiatives cover the whole spectrum of water related research. Mine water related research resides within the key strategic area dealing with water use and waste management.

Joining the Global Alliance in 2006, the WRC is the newest of the member research organisations, which support the activities of the International Network for Acid Prevention (INAP). The WRC views its membership of the Global Alliance as being on behalf of all South African activities that are of importance to the Alliance. The interaction between the WRC and the Mine Water Division (MWD) of the Water Institute of Southern Africa (WISA) plays an important role in this regard. The WRC is represented on the Management Committee of the MWD, where it regularly reports on Global Alliance activities and learns of mining activities of interest to the Alliance.

Prior to 1990 most South African mine water related research was conducted by the now disbanded Chamber of Mines Research Organisation. The WRC’s involvement in mine water research was limited to determining the water requirements and pollution potential of gold and uranium mines. Between 1990 and 2000, research focused on the impact mining has on the surface environment, on treatment options for mine effluents and on the rehabilitation of mining spoils. Since 2000 the emphasis has shifted to the development of predictive tools and modelling techniques, with the focus on treatment options shifting to implementation and passive systems.

This paper briefly describes significant contributions from a South African perspective, with a specific focus on acid drainage.

IMPROVED PREDICTIVE ABILITY

Two aspects of research related to improved predictive ability have received special attention: firstly, the ability to predict the generation of acid drainage, and secondly, the ability to predict the rise in water levels and/or time and point of decant when pumping associated with active mining stops.

In view of the plethora of techniques used to predict the likelihood of acid drainage, research targeted at opencast coal mining started in 1999 to standardise the methods used to quantify the potential and magnitude of acid rock drainage (ARD, or acid mine drainage, AMD).  Based on an extensive testing of existing static methods, Usher et al. (2004) recommended standardised methods for measuring initial pH, neutralisation potential and acid potential of water. They describe and justify the reasons/advantages of the recommended methods. They also developed an easy to use spreadsheet tool, ABACUS, to standardise the interpretation of static Acid-Base Accounting (ABA) data and, where the suggested sampling methodology has been followed, to provide a method for extrapolation to the field through volume-weighted techniques. Although the project focused on ABA, it strived to define a suite of acid-drainage prediction tools. The researchers coined a new acronym, ABATE (derived from Acid-Base: Accounting, Techniques and Evaluation), for the approach that integrates a range of tools to predict the potential for acid generation.  This also helps to prevent confusion from arising in the use of the term ABA, since most people associate ABA with the static test component of drainage chemistry prediction, rather than the entire suite of tools. Research is in progress regarding the use of geochemical modelling techniques to predict the evolution of ARD over time.

There are about 270 gold mine tailings covering 180 km2 Continued efforts to remine and consolidate the tailings into mega-dumps, the contamination and reclamation of the footprint beneath them (Rosner et al., 2001 and Hattingh et al., 2003) and the degree to which tailing properties and time affect the depth and rate of weathering of typical tailings dams, have been investigated. An empirical model was developed to predict the likely period over which tailings dams will produce acidic drainage (Bezuidenhout and Rousseau, 2005). Efforts are currently underway to develop a coherent process to facilitate transparent and effective regulatory decision-making regarding the sustainable design, operation and closure of residue disposal facilities. A preliminary Decision Support System to facilitate decision-making has recently been completed (Rademeyer et al., 2008), while a refinement of the system is nearing conclusion.

The ability to predict the rise in water levels, and hence when and where decant to surface would take place after the cessation of mining, has received considerable attention. This ability is particularly important in view of the recovery of water levels in deep gold mines and the seepage of ARD from old shafts. Pioneering research in this regard was undertaken by Scott (1995) who investigated the flooding of Central and East Rand gold mines which have become largely interconnected through mining activities. Scott identified the controls over the inflow rate and water quality and was able to predict the future decant points and timeframes for different scenarios. A series of collaborative research projects (Grobbelaar et al., 2004 and Vermeulen et al., 2005) between the WRC and Coaltech (a non-profit research organisation funded by coal mining companies) captured the mine plans and coal seams in a three dimensional GIS, enabling the mines to determine decant points and the extent of intermine flow within the Mpumulanga coal fields. This ability is currently used to determine the position and capacity of plants to treat the ARD emanating from the coal fields.

MINIMISING THE PRODUCTION AND IMPACT OF ACID ROCK DRAINAGE

Several approaches have been evaluated in an attempt to reduce the production and impact of ARD associated with mining.

A regional closure strategy was developed (Pulles et al., 2005) and is being implemented by the regulating authorities (van Tonder et al., 2008) to ensure the orderly and responsible closing of mines which exploit the same ore body. This represents a fundamental change from the previous dispensation where the approach to address mine closure from the perspective of individual mines, resulted in the last mine standing in an area to be saddled with the responsibility for the combined decant and ARD pollution potential of interconnected neighbouring mines.

Under experimental conditions the use of soil to cover acid generating discard material was found to be effective in reducing the ingress of oxygen and water and thus the volume and strength of ARD percolate (Vermaak et al., 2004).  However, under field conditions, where large discard dumps had to be covered, it proved difficult to source sufficient soil for an effective cover thickness and to prevent erosion reducing cover depth on side slopes (Wates et al., 2006).

An evaluation and modelling of the impact that the release to surface streams of stored saline neutralised ARD during high flow conditions would have on water quality (Coleman et al., 2003) contributed to the development of a strategy whereby ARD from Mpumalanga coal mines is released periodically during years with above average runoff.

Several research projects have highlighted the benefits in the form of reduced volumes of water that would accumulate in underground mines if the ingress of water through surface cracks and fissures could be reduced. The Department of Minerals and Energy initiated a multimillion Rand project through the Council of Geoscience to identify and close these ingress points as a priority (Coetzee, 2009).

Two interesting projects aimed at minimising the impact or production of ARD are currently being conducted. The first is assessing the viability of extracting good quality groundwater in aquifers overlying deep mines in order to reduce the percolation of good quality water into the mines. The potential benefit is to prevent the subsequent contamination of this good quality water with ARD and in the reduction of the volume of ARD requiring mitigation. The second is an investigation into the feasibility of either removing or accelerating the oxidation of pyrites associated with mining. In this way mining may be able to deal with ARD problems during the lifespan of a mine, so that mines would not have a post-closure ARD legacy.

TREATMENT TECHNOLOGIES

In contrast with water-rich mining regions, South Africa faces not only the high acidity and dissolved metal problems associated with ARD, but the limited dilution potential associated with low rainfall exacerbates the contribution of  salinity associated with ARD (and also with neutralised ARD) to the salinisation of water resources. For example, it has been calculated that effluents from gold mines contribute 35% of the salt load while contributing approximately 6% of the water flow at the Barrage in the Vaal River (the major water source of the industrial heartland of South Africa, Pilson et al., 2000). For this reason much of the research into treatment technologies focused on developing technology that would remove sulphate in addition to metals and the neutralisation of acidity.

The research into water treatment technology is currently being implemented and evaluated at a range of pilot and operational scales at a number of locations. In a joint venture Anglo Coal and BHP Billiton constructed a 20 ML/d reverse osmosis plant at 99% water recovery to produce potable water from ARD. The treated water is sold to the neighbouring town to supplement its water supply (Gunther, 2008). Two similar plants are planned for the treatment of ARD form the Mpumalanga coal mines. The Rhodes BioSure process whereby sewage sludge is used as energy source for the biological reduction and removal of sulphates from ARD, has been implemented at ERWAT’s Ancor Waste water treatment works, which had been rebuilt to accommodate the BioSure process. Ten ML/d of ARD from the Grootvlei Gold Mine is treated in this way (Joubert et al., 2009). The Western Utilities Corporation, established to treat the ARD from four basins in the Witwatersrand gold fields, is planning to treat 75 ML/d of ARD from gold mines using the Council for Scientific and Industrial Research’s ABC (Alkali-Barium-Calcium) desalination process, which use barium to precipitate sulphates.  A pilot plant utilising the degrading packed bed reactor, that overcame the failure that is commonly experienced with passive sulphate removal systems once the easily oxidisable organic material has been depleted, and that significantly improved the efficiency of passive systems, is currently being constructed (Pulles, 2009). The cost saving associated with using limestone (calcium carbonate) rather than lime (calcium hydroxide), and the effectiveness of the technology for the neutralisation of acid waters, have been demonstrated in a number of applications.

TECHNOLOGY TRANSFER (BEST PRACTICE GUIDELINES AND CONFERENCES)

The Department of Water Affairs (DWA) recently completed a series of Best Practice Guidelines for Resource Protection in the South African Mining Industry. Four of these deal with aspects of the Department’s water management hierarchy, viz. Integrated mine water management, Pollution prevention and minimisation of impacts, Water reuse and reclamation and Water Treatment. Five of the series deal with general water management strategies, techniques and tools, namely Storm Water Management, Water And Salt Balances, Water Monitoring Systems, Impact Prediction and Water Management Aspects For Mine Closure. Six of the series deal with specialised mining activities or aspects, specifically: Small-Scale Mining, Water Management For Mine Residue Deposits, Water Management In Hydrometallurgical Plants, Pollution Control Dams, Water Management For Surface Mines and Water Management For Underground Mines.

The MWD of WISA in collaboration with DWA and the South African Chamber of Mines hosted two well attended Symposia (24-25 October 2007 and 11-12 February 2009). A Workshop to discuss the Global Acid Rock Drainage Guide was held on 13 October 2008. The 3rd International Seminar on Mine Closure (Mineclosure2008) with the theme From Waste to Resource: Revaluation of Mining Operations, land and Residue Deposits in a Changing World was held from 14 to 17 October 2008. Almost 400 participants from 28 countries attended to hear the 90 speakers. The MWD together with the International Minewater Association will host an International Minewater Conference from 19 to 23 October 2009.

CONCLUSION

South African activities have made significant contributions on several fronts in the quest to deal with the problems associated with ARD emanating from mining activities.

ACKNOWLEDGEMENTS

The authors wish to thank the many researchers and practitioners who contributed to the progress that has been reported here. It is only a limitation on space that resulted in the exclusion of many interesting other developments from being reported upon. The authors also wish to thank the South African Water Research Commission for permission to present this report.

REFERENCES

Bezuidenhout, N. And and P. D. S. Rousseau. 2005. An investigation into the depth and rate of weathering on gold tailings dam surfaces as key information for long term AMD risk assessments. WRC Report No 1347/1/05. Water Research Commission, Pretoria, South Africa.

Boer, R. H. and K. L. Pinetown. 2006. A quantitative evaluation of the model distribution of minerals in coal deposit in the Highveld area and the associated impact on the generation of acid and neutral mine drainage. WRC Report No 1264/1/2006. Water Research Commission, Pretoria, South Africa.

Coetzee, H. 2009. Personal communication, 28 April 2009.

Coleman, T. J., J. N. Rossouw and A. Bath. 2003. An investigation into the impacts on Witbank Dam catchment associated with saline mine water release. WRC Report No 900/1/03. Water Research Commission, Pretoria, South Africa.

Grobbelaar, R., B. H. Usher, L-M. Cruywagen, E. de Necker and F. D. I. Hodgson. 2004. Long-term impact of intermine flow from collieries in the Mpumalanga coalfields. WRC Report No 1056/1/2004. Water Research Commission, Pretoria, South Africa.

Gunther, P. and T. Naidu. 2008. Mine water reclamation: Towards zero disposal. Proc. of the Biennial WISA Conference. 18 – 22 May 2008, Sun City, South Africa.

Hattingh, R. P., J. Lake, R. H. Boer, P. Aucamp and C. Viljoen. 2003. Rehabilitation of contaminated gold tailings dam footprints. WRC Report No 1001/1/03. Water Research Commission, Pretoria, South Africa.

Joubert, H., J. W. Wilken and J. P. Maree. 2009. Challenges for the full-scale implementation of biological sulfate reducing processes. Paper submitted for presentation at the International Minewater Conference, 19 – 23 October 2009, Pretoria. South Africa.

Pilson R., H. L. Van Rensburg and C. J. Williams. 2000. An economic and technical evaluation of regional treatment options for point source gold mine effluents entering the Vaal barrage catchment. WRC Report No 800/1/00. Water Research Commission, Pretoria, South Africa.

Pulles W., S. Banister and M. van Biljon. 2005. The development of appropriate procedures towards and after closure of underground gold mines from a water management perspective. WRC Report No 1215/1/05. Water Research Commission, Pretoria, South Africa.

Pulles, W. 2009. The evolution of passive mine water treatment technology for sulphate removal. Paper submitted for presentation at the International Minewater Conference, 19 – 23 October 2009, Pretoria. South Africa.

Rademeyer, B., J. A. Wates, N. Bezuidenhout, G. A. Jones, E. Rust, S. Lorentz, P. van Deventer, W. Pulles and J. Hattingh. 2008. A preliminary decision support system for the sustainable design, operation and closure of metalliferous mine residue disposal facilities. WRC Report No 1551/1/2008. Water Research Commission, Pretoria, South Africa.

Rosner, T., R. Boer, R. Reyneke, P. Aucamp and J. Vermaak. 2001. A preliminary assessment of pollution contained in the unsaturated zone beneath reclaimed gold-mine residue deposits. WRC Report No 797/1/2001. Water Research Commission, Pretoria, South Africa.

Scott, R. 1995. Flooding of Central and East Rand Gold Mines: An investigation into controls over the flow rate, water quality and predicted impacts of flooded mines. WRC Report No 486/1/95. Water Research Commission, Pretoria, South Africa.

Usher, B. H., L-M. Cruywagen, E. de Necker and F. D. I. Hodgson. On-site and laboratory investigations of spoil in opencast collieries and the development of acid-base accounting procedures. WRC Report No 1055/1/03. Water Research Commission, Pretoria, South Africa.

Van Tonder, D. M., H. Coetzee, S. Esterhuyse, N. Msezane, L. Strachan, P. Wade, T. Mafanya, and S. Mudau. 2008. South Africa’s challenges pertaining to mine closure – the concept of regional mining and closure strategies. In A. B Fourie et al. (eds) Proc. of the Third International Seminar on Mine Closure. 14 – 17 October 2008, Johannesburg, South Africa.

Vermaak, J. J. G., J. A. Wates, N. Bezuidenhout and D. Kgwale. 2004. The evaluation of soil covers used in the rehabilitation of coal mines. WRC Report No 1002/1/04. Water Research Commission, Pretoria, South Africa.

Vermeulen, P. D., L-M, Cruywagen, E. de Necker, and F. D. I. Hodgson. 2005. Investigation of Water Decant from the Underground Collieries in Mpumalanga, with Special Emphasis on Predictive Tools and Long-Term Water Quality Management. WRC Report No 1263/1/05. Water Research Commission, Pretoria, South Africa.

Wates J. A., S. A. Lorentz, H.Marais, B. J. M. Baxter, M. Theron and L. Dollar. 2006. An evaluation of the performance and effectiveness of improved soil cover designs to limit through-flow of water and ingress of air. WRC Report No 1350/1/06. Water Research Commission, Pretoria, South Africa.