## 726
ANALYTICAL LABORATORY SERVICES cc
P.O. Box 86782 Eros, Windhoek, Namibia
Tel (061) 210132 Fax (061) 210058 e-mail analab@mweb.com.na
TEST REPORT
To: | Ministry of Agriculture, Water and Forestry
Department of Water Affairs
| Private Bag 13193 |  |  |  | Date received: |  | 2015-02-06
| Windhoek |  |  |  | Date required: |  | 0
| 0 |  |  |  | Date completed: |  | 2015-03-30
Attn: | MA S. Amakali
| 0 |  |  |  | Your Reference: |  | 46030
[5 empty] | Lab Reference: |  | 15/02
Origin |  | Hardap Region, Boomplaas
WW number |  | 40961
Lat |  | 24.549800
Long |  | 18.563260
Date of sampling |  | 2014/10/03
Date received |  | 2014/10/08
DWA number |  | 726 |  |  |  | Recommended max. limits
Test item number |  | DWA 726 |  |  |  | (according to tender specification)
Livestock-
Parameter |  | Value | me | Unit | Classification | Group A | Group B | Group C | watering
p H |  | 8.5 |  |  | A | 6-9 | 5.5 - 9.5 | 4.0-11.0 | 4.0-11.0
Electrical conductivity |  | 75.5 |  | mS/m | A | 150 | 300 | 400
Total dissolved solids (det.) |  | 405.3545 |  | mg/dm3 |  |  |  |  | 6000
Turbidity |  | 24 |  | NTU | D | 1 | 5 | 10
Colour |  | <10 |  | Pt |  | 20
Sulphate as SO4 |  | 57 | 1.1867 | mg/dm3 | A | 200 | 600 | 1200 | 1500
Chloride as Cl |  | 39 | 1.1002 | mg/dm3 | A | 250 | 600 | 1200 | 3000
Fluoride as F |  | 0.4 | 0.021056 | mg/dm3 | A | 1.5 | 2 | 3 | 6
Nitrate as N |  | 0.7 | 0.035728 | mg/dm3 | A | 10 | 20 | 40 | 100
Nitrite as N |  | <0.1 | 0.0071307 | mg/dm3 |  |  |  |  | 10
Silica as SiO2 |  | 6 |  | mg/dm3
P-Alkalinity as CaCO3 |  | 5.7 |  | mg/dm3
T-Alkalinity as CaCO3 |  | 318 | 6.3587 | mg/dm3
T-Hardness as CaCO3, cal. |  | 89.6054 |  | mg/dm3 | A | 300 | 650 | 1300
Sodium as Na |  | 152 | 6.612 | mg/dm3 | B | 100 | 400 | 800 | 2000
Potassium as K |  | 8.5 | 0.21743 | mg/dm3 | A | 200 | 400 | 800
Magnesium as Mg |  | 18 | 1.4812 | mg/dm3 | A | 70 | 100 | 200 | 500
Calcium as Ca |  | 6.2 | 0.30938 | mg/dm3 | A | 150 | 200 | 400 | 1000
Manganese as Mn |  | 0.03 |  | mg/dm3 | A | 0.05 | 1 | 2 | 10
Iron as Fe |  | 7.6 |  | mg/dm3 | D | 0.1 | 1 | 2 | 10
Langelier Index |  | 0.33145 | scaling |  |  | >0=scaling, <0=corrosive, 0=stable
Ryznar Index |  | 7.8371 | corrosive |  |  | <6.5=scaling, >7,5=corrosive, >6.5 and <7.5=stable
Corrosivity ratio |  | 0.35987 | increasing corrosive tendency |  |  | Applies to water in the pH range 7-8
Stability pH |  | 8.1685 |  |  |  | which also contains dissolved oxygen
ratios <0.2 no corrosive properties
ratios >0.2 increasing corrosive tendency
Remark: | Overall classification of water considering only constituents that have been tested for:
Group D, high risk water.
S. Rügheimer
Laboratory Manager

## 733
ANALYTICAL LABORATORY SERVICES cc
P.O. Box 86782 Eros, Windhoek, Namibia
Tel (061) 210132 Fax (061) 210058 e-mail analab@mweb.com.na
TEST REPORT
To: | Ministry of Agriculture, Water and Forestry
Department of Water Affairs
| Private Bag 13193 |  |  |  | Date received: |  | 2015-02-06
| Windhoek |  |  |  | Date required: |  | 0
| 0 |  |  |  | Date completed: |  | 2015-03-30
Attn: | MA S. Amakali
| 0 |  |  |  | Your Reference: |  | 46030
[5 empty] | Lab Reference: |  | 15/02
Origin |  | Hardap Region, Olifantswest
WW number |  | 39840
Lat |  | 23.647250
Long |  | 18.389760
Date of sampling |  | 2014/10/02
Date received |  | 2014/10/08
DWA number |  | 733 |  |  |  | Recommended max. limits
Test item number |  | DWA 733 |  |  |  | (according to tender specification)
Livestock-
Parameter |  | Value | me | Unit | Classification | Group A | Group B | Group C | watering
p H |  | 8.7 |  |  | A | 6-9 | 5.5 - 9.5 | 4.0-11.0 | 4.0-11.0
Electrical conductivity |  | 90 |  | mS/m | A | 150 | 300 | 400
Total dissolved solids (det.) |  | 531.1086 |  | mg/dm3 |  |  |  |  | 6000
Turbidity |  | 0.35 |  | NTU | A | 1 | 5 | 10
Colour |  | <10 |  | Pt |  | 20
Sulphate as SO4 |  | 45 | 0.9369 | mg/dm3 | A | 200 | 600 | 1200 | 1500
Chloride as Cl |  | 60 | 1.6926 | mg/dm3 | A | 250 | 600 | 1200 | 3000
Fluoride as F |  | 0.5 | 0.02632 | mg/dm3 | A | 1.5 | 2 | 3 | 6
Nitrate as N |  | 14 | 1.0004 | mg/dm3 | A | 10 | 20 | 40 | 100
Nitrite as N |  | <0.1 | 0.0071307 | mg/dm3 |  |  |  |  | 10
Silica as SiO2 |  | 12 |  | mg/dm3
P-Alkalinity as CaCO3 |  | 35 |  | mg/dm3
T-Alkalinity as CaCO3 |  | 295 | 5.8988 | mg/dm3
T-Hardness as CaCO3, cal. |  | 184.344 |  | mg/dm3 | A | 300 | 650 | 1300
Sodium as Na |  | 151 | 6.5685 | mg/dm3 | B | 100 | 400 | 800 | 2000
Potassium as K |  | 11 | 0.28138 | mg/dm3 | A | 200 | 400 | 800
Magnesium as Mg |  | 29 | 2.3864 | mg/dm3 | A | 70 | 100 | 200 | 500
Calcium as Ca |  | 26 | 1.2974 | mg/dm3 | A | 150 | 200 | 400 | 1000
Manganese as Mn |  | 0.02 |  | mg/dm3 | A | 0.05 | 1 | 2 | 10
Iron as Fe |  | 0.23 |  | mg/dm3 | B | 0.1 | 1 | 2 | 10
Langelier Index |  | 1.1097 | scaling |  |  | >0=scaling, <0=corrosive, 0=stable
Ryznar Index |  | 6.4806 | scaling |  |  | <6.5=scaling, >7,5=corrosive, >6.5 and <7.5=stable
Corrosivity ratio |  | 0.44603 | increasing corrosive tendency |  |  | Applies to water in the pH range 7-8
Stability pH |  | 7.5903 |  |  |  | which also contains dissolved oxygen
ratios <0.2 no corrosive properties
ratios >0.2 increasing corrosive tendency
Remark: | Overall classification of water considering only constituents that have been tested for:
Group B, good quality water.
S. Rügheimer
Laboratory Manager