Page 1 of 3							2015-0615

| Customer Code | 1714 |
| --- | --- |
| Customer Name | Mark Graham |
| Company Name | GroundTruth – Water, Wetlands & Environmental Engineering |
| Postal Address | P O Box 2005 Hilton 3245 |
| Telephone Number | 033 3432229 |
| Fax Number | 0865992300 |
| Email Address | mark@groundtruth.co.za/juan@groundtruth.co.za |
| Date Sample/s Taken | Not Specified |
| Date Sample/s Received | 29-07-15 |
| Sample Matrix | Water |
| Sample Condition on Receipt & Handling | 5 samples were received in good condition. The samples were logged and submitted immediately to the laboratory for analysis. |
| Date Sample/s Analyzed | Various |
| Results Interpretation | Results are presented in a word format and results pertain to samples as taken and in the condition submitted to the laboratory. Opinions and interpretations expressed herein fall outside the scope of SANAS accreditation. Results marked * are not SANAS accredited and are not included in the SANAS schedule of accreditation |

04-08-15

Page 2 of 3							2015-0615

| Sample ID |  |  | 967670 | 967671 | 967672 |
| --- | --- | --- | --- | --- | --- |
| Sample Description |  |  | GT0632 Orasecom Two Rivers-BH5229 | GT0632 WW 39840 | GT0632 Tswalu 42477 |
| Method Number | Determinand | - Units | Results | Results | Results |
| 1 | Alkalinity | mg CaCO3/L | 859 | 298 | 135 |
| 154 | Arsenic | µg As/L | 109 | <2.00 | 2.48 |
| 30 | Calcium | mg Ca/L | <1.00 | 22.8 | 39.2 |
| 5 | Chloride (Soluble) | mg Cl/L | 568 | 59.9 | 41.9 |
| 21 | Conductivity | mS/m | 430 | 98.1 | 58.0 |
| 94 | Fluoride | µg F/L | 6980 | 725 | 335 |
| 30 | Iron | mg Fe/L | <0.02 | <0.02 | 0.02 |
| 27 | Total hardness | mg CaCO3/L | <6.67 | 154 | 206 |
| 30 | Magnesium | mg Mg/L | <1.00 | 23.4 | 25.9 |
| 30 | Manganese | mg Mn/L | <0.01 | 0.03 | <0.01 |
| 30 | Sodium | mg Na/L | 964 | 137 | 29.2 |
| 157 | Ammonia (Soluble)* | mg N/L | <0.10 | <0.10 | <0.10 |
| 5 | Nitrate (Soluble) | mg N/L | 24.0 | 11.6 | 15.4 |
| 46 | pH | pH units | 9.38 | 8.10 | 6.67 |
| 154 | Selenium | µg Se/L | 12.2 | 6.15 | <2.00 |
| 5 | Sulphate (Soluble) | mg SO4/L | 350 | 30.9 | 15.4 |
| 69 | Turbidity | NTU | 1.2 | 0.4 | 0.6 |

04-08-15

Page 3 of 3							2015-0615

| Sample ID |  |  | 967673 | 967674 |
| --- | --- | --- | --- | --- |
| Sample Description |  |  | GT0632 Mokayako BH1255 | GT0632 Tsabong BH9087 |
| Method Number | Determinand | - Units | Results | Results |
| 1 | Alkalinity | mg CaCO3/L | 377 | 29.1 |
| 154 | Arsenic | µg As/L | <2.00 | <2.00 |
| 30 | Calcium | mg Ca/L | 59.2 | <1.00 |
| 5 | Chloride (Soluble) | mg Cl/L | 34.6 | 123 |
| 21 | Conductivity | mS/m | 86.3 | 64.0 |
| 94 | Fluoride | µg F/L | 816 | 174 |
| 30 | Iron | mg Fe/L | 0.02 | 0.03 |
| 27 | Total hardness | mg CaCO3/L | 258 | <6.67 |
| 30 | Magnesium | mg Mg/L | 26.3 | <1.00 |
| 30 | Manganese | mg Mn/L | 0.02 | <0.01 |
| 30 | Sodium | mg Na/L | 89.2 | 114 |
| 157 | Ammonia (Soluble)* | mg N/L | <0.10 | <0.10 |
| 5 | Nitrate (Soluble) | mg N/L | <0.10 | 5.00 |
| 46 | pH | pH units | 7.35 | 6.49 |
| 154 | Selenium | µg Se/L | 3.69 | <2.00 |
| 5 | Sulphate (Soluble) | mg SO4/L | 29.1 | 49.9 |
| 69 | Turbidity | NTU | 0.3 | 0.4 |

04-08-15